Sampling Protocol (2/12/2013): Stable Isotopes of water (18O & 2H)

Collection type: 60 mL RUS
USGS Schedule/Lab Code: SCH 1142
Analyzing laboratory: Reston Stable Isotope Laboratory
Bottle Type: 1 60-mL glass bottle, cone cap
One Stop Order Info: Q411FLD
Filtered/Unfiltered: Unfiltered
Treatment: No Preservative
Additional bottle instructions: None

Sampling instructions:

· Top fill with raw, unfiltered water, 3/4 full

· Fill bottle ¾ to leave some headspace in case the  bottle freezes. Cap tightly and tape cap with electrical tape (wind tape clockwise to prevent cap from unscrewing) 

· The RSIL will use QWDX to enter sample information and data into NWIS.  

Questions regarding sampling and shipping procedures can be directed to: Bryant Jurgens (916) 278-3275 (bjurgens@usgs.gov)

Shipping Protocol (2/25/2013): Stable Isotopes of water (18O & 2H)

SCH 1142 Stable Isotopes of Water – Reston Stable Isotope Laboratory

· Arrange samples in order according to date/ time.
· Log sample information (Site ID, Date, Time, etc.) into RSIL Sample Submission Form –spreadsheet. 

http://isotopes.usgs.gov/lab/services.html

· Be sure to fill out submittal form as completely as possible. Code descriptions are included on separate tabs. 
· Update study unit account #.  Avoid logging samples from different study units on the same sheet.
· Note any comments pertaining to samples in spreadsheet.
· Make sure all caps are taped.
· Pack samples with foam/bubble sleeves securely into a box within a box and double bagged in case glass breaks. Put packing material between boxes for cushioning.
· Included a printed copy of the Sample Submission Form in the box.
· Highlight the list of samples contained in the box if using one excel sheet for many boxes.
· Separate excel sheets by batch # according to shipment (e.g. three boxes of samples shipped on a particular day would be included in batch # 1. The next shipment of samples would be batch #2.)  
· Email Excel submittal form to: isotopes@usgs.gov and tlarnold@usgs.gov corresponding to the samples being shipped. 

· Samples can be shipped at the end of the week (Thursday) and shipped FedEx overnight to:

USGS, Reston Stable Isotope Lab
431 National Center
12201 Sunrise Valley Dr.
Reston VA, 20192
703-648-5859
DO NOT SHIP TO ARRIVE ON SATURDAY

Contacts for questions –
Hiaping Qi, isotopes@usgs.gov
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