## README
Date | Contact | Notes
2012-07-30 | Terri Arnold | This is the design plan for NAWQA Cycle 3 Groundwater Assessments. It is based on the Cycle 3 draft implementation plan (March 2012) and discussions with Neil Dubrovsky, Ken Belitz, and Wayne Lapham. Any future modifications to this plan will be noted on this README tab.
2012-11-29 | Terri Arnold | Sampling plans for Pesticides and VOCs were modified following discussions and agreement among Ken Belitz, Patty Tocalino, Karen Burrow, Terri Arnold, Tom Nolan, Neil Dubrovsky, Sandy Eberts, and Laura Bexfield. The sampling plan had to modified from the Draft Cycle 3 implementation plan because the Pesticide and VOCs schedules and their prices changed from what was used during Cycle 2 and the change in price made it so we had to replan the numbers of samples that could be collected during Cycle 3. 6 samples per network (about 20% of wells) will be sampled in each MAS and LUS network, all wells will be sampled in PAS, ETN, and FPS networks. 6 wells will be randomly selected by dividing the study area into 2x3 cells and randomly selecting one well be cell. The same wells will be sampled for both pesticides and VOCs.
2013-01-29 | Terri Arnold | Updated FPS networks to not have radchem and for all PAS to have C14 as per Ken Belitz 1/18/2013
2013-02-08 | Terri Arnold | Updated radchem sampling plan after discussion 2/1/2013 with Steve Hinkle, Pete McMahon, Ken belitz, Bryant Jurgens, Karen Burow, Neil Dubrovsky, and Terri Arnold. In the Summer 2013, all wells in all MAS LUS, and PAS networks were planned to have the basic suite of radchem (radium 222, 226, 228; and gross alpha/beta. After the discussion on 2/1/2013 ite was decided that to save money, we sould scale back the sampling plan to what was sated in the C3 draft implementaiton plan (March 2012) which said to sample LUS networks for the basic suite only if they are in the following aquifers: NACP, Floridan, Coastal Lowlands, Cambrian-Ordovician, Mississippi Embayment-Texas Uplands, Glacial, Ozarks, NE crystallines, Mesozoic. *** During the March 2013 meeting, we need to verify the list of Principal Aquifers to be selected.
2013-02-08 | Terri Arnold | Updated age data tracers to have only tritium samples at LUS networks until further determination is made. (tritium also is collected at MAS and PAS and FPS but this is not a change to the plan.
2013-03-11 | Terri Arnold | Updated radchem, age dating, pesticides and VOCs, and microbial for all networks
2013-04-12 | Terri Arnold | Updated age dating (helium screening, helium, and noble gases for all networks. Added a tab describing how many wells in each principal aquifer study (PAS) get helium screening, helium, and noble gas samples in FY13. Updated the QC requirements tab. Added S4437. Updated microbio for coliphage
2013-04-19 | Terri Arnold | Updated Pharmaceuticals to be LC9017 instead of S2080. LC9017 uses the new method and will eventually replace S2080.
2013-06-03 | Paul Stackelberg, Jeannie Barlow, and Bryant Jurgens | Added information about Labs and where to order supplies.
2013-06-18 | Terri Arnold | Updated radchem prices for new contract
2013-07-03 | Terri Arnold | Updated QC requirements tab
2013-07-26 | Terri Arnold | Changed number of alkalinity reps to be equal to number of inorganic reps. Dropped Radchem blanks beginning FY14 as per PAA decision 7/25/2013.
2013-08-28 | Terri Arnold | Updated lables on constituent rows to make consistent. Updated lab information. Added sample and submission protocol links.

## Lab analyte list by network
Analytes planned for Groundwater Assessments during NAWQA Cycle 3 (08/16/2013)
Network type
| Constituent | Schedule or Lab Code | Lims Catalog description | MAS | AgLUS | UrLUS | PAS | FPS | ETN | NOTES
Field Measurements (DO, pH, SC, temp, alkalinity, turbidity) and water levels | Field Measurements (DO, pH, SC, temp, alkalinity, turbidity) and water levels | Field Measurements | none | all wells | all wells | all wells | all wells | all wells | all wells
Basic Suite: Majors. Nuts. TEs, DOC | Major Inorganics | S2750 | NAWQA, Major Inorganics, Filtered | all wells | all wells | all wells | all wells | all wells | all wells
| Nutrients | S2755 | NAWQA, Ground Water, Nutrients | all wells | all wells | all wells | all wells | all wells | all wells
| DOC (GF filter) | LC2613/LC2612 | Organic Carbon, Dissolved, (DOC), Water, Filtered, GLASS FIBER, Sulfuric Acid Preserved | all wells | all wells | all wells | all wells | all wells | all wells
| Trace Elements | S2710 | NAWQA ICPMS 22 Element, Water, Filtered | all wells | all wells | all wells | all wells | all wells | all wells
Pesticides | New LCMS/MS (9030) | S2437 | This is the DIA-LC/MS/MS replacement method that will is intended to be a broad spectrum replacement providing significant coverage for compounds previously determined by SH2033 and SH2060 while also adding a number of Tier 1 NTAS pesticide compounds. | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for VOCs) | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for VOCs) | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for VOCs) | all wells | all wells | none
VOCs | Purge and Trap | S4436 | Base schedule 2020 plus 13 Tier 2R (R = regulated) compounds. All 13 of these compounds either have an MCL or were on the EPA CCL3 list but were not elevated to Tier 1 status because they rarely occurred in GW. | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for Pests) | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for Pests) | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for Pests) | all wells | all wells | none
|  | LC4000 lab spike | Sample spiking, organic, environmental matrix, lab | 1 | 1 | 1 | 1 | 1 | 0
| Heated Purge and Trap | S4437 | Base schedule 2020 plus 13 Tier 2R (R = regulated) compounds. All 13 of these compounds either have an MCL or were on the EPA CCL3 list but were not elevated to Tier 1 status because they rarely occurred in GW. | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for Pests) | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for Pests) | 25% of wells in network (8 wells in a 30-well network) (same wells as sampled for Pests) | all wells | all wells | none
|  | LC4000 lab spike | Sample spiking, organic, environmental matrix, lab | 1 | 1 | 1 | 1 | 1 | 0
Pharmaceuticals | Human Health Pharmaceuticals | LC9017 | Human-Health Pharmaceuticals, Wat, Fil, SPE Extract, HPLC/MS | all wells | none | none | all wells | none | none
|  | LC4000 lab spike | Sample spiking, organic, environmental matrix, lab | 1 | 0 | 0 | 1 | 0 | 0
| Hormones | S2434 | Hormones in filtered water | all wells | none | none | all wells | none | none
|  | LC4000 lab spike | Sample spiking, organic, environmental matrix, lab | 1 | 0 | 0 | 1 | 0 | 0
Radionuclides | Radon | LC1369 | Radon-222, Water, Unfiltered, Time Sensitive MUST be rcvd within 48 hrs of collection, Liq Scint | all wells in new networks | none | none | all wells | none | none
| Radium isotopes (224 226 only) | LC2164 | Radium-224, Radium-226, Water, Filtered, by Alpha Spectrometry | all wells | Select networks (see NOTES column) | Select networks (see NOTES column) | all wells | all wells | none | only collect basic suite of radchem (radium 224, 226, and 228 and Gross alpha/beta in select LUS networks which are those in the following aquifers: NACP, Floridan, Coastal Lowlands, Cambrian-Ordovician, Mississippi Embayment-Texas Uplands, Glacial, Ozarks, NE crystallines, Mesozoic, coastal plain. *** During the March 2013 meeting, we need to verify the list of Principal Aquifers to be selected.
| Radium 228 | LC1364 | Radium-228, Water, Filtered, by Radiochemical separation and Beta counting | all wells | Select networks (see NOTES column) | Select networks (see NOTES column) | all wells | all wells | none | only collect basic suite of radchem (radium 224, 226, and 228 and Gross alpha/beta in select LUS networks which are those in the following aquifers: NACP, Floridan, Coastal Lowlands, Cambrian-Ordovician, Mississippi Embayment-Texas Uplands, Glacial, Ozarks, NE crystallines, Mesozoic, coastal plain. *** During the March 2013 meeting, we need to verify the list of Principal Aquifers to be selected.
| Gross alpha and beta | S1792 | Gross Alpha/Beta, wat, fil, 72h/30d, analyzed at Eberline | all wells | Select networks (see NOTES column) | Select networks (see NOTES column) | all wells | all wells | none | only collect basic suite of radchem (radium 224, 226, and 228 and Gross alpha/beta in select LUS networks which are those in the following aquifers: NACP, Floridan, Coastal Lowlands, Cambrian-Ordovician, Mississippi Embayment-Texas Uplands, Glacial, Ozarks, NE crystallines, Mesozoic, coastal plain. *** During the March 2013 meeting, we need to verify the list of Principal Aquifers to be selected.
| Polonium-210 | LC1505 | Polonium-210, Water, Filtered, by Alpha Spectrometry | all wells | none | none | all wells | none | none
| Lead 210 | LC2170 | Lead-210, Water, filtered, by Beta Counting | all wells | none | none | all wells | none | none
Microbial Indicators in GW | Total coliform, E. coli bacteria | Colilert quantitray (OMWL) |  | all wells | none | none | all wells | none | none | Send samples to Ohio Lab for analysis
|  | Lab Control |  | see QC requirements
| Enterococci bacteria | Enterolert quantitray (OMWL) |  | all wells | none | none | all wells | none | none | Send samples to Ohio Lab for analysis
|  | Lab Control |  | see QC requirements
| Somatic and F-specific coliphage | method 1601 (OMWL) |  | all wells |  |  | all wells |  | none | Send samples to Ohio Lab for analysis
|  | Lab Spike |  | see QC requirements
| Enteric viruses | method 1615 (OMWL) | Enteric viruses by qPCR or qRT-PCR | none | none | none | none | none | none
Age-Dating | Tritium (1 pCi/L) | LC 1565 Menlo Park Lab |  | all wells | all wells | all wells | all wells | all wells | none
| Helium (Analysis 1) | S1033 Lamont-Doherty Lab (Analysis1 CFC lab) |  | none | none | none | wells in select Principal Aquifers | all wells in select networks | none | * See 'Age Dating details' tab to see which Principal Aquifer Studies are sampled for Helium
| SF6 | Reston CFC Lab |  | all wells | none | none | all wells | all wells | none
| Dissolved Gases | Reston CFC Lab |  | all wells | none | none | all wells | all wells | none
| 4He Helium screening (all wells that go to Lamont should have Helium screening | Reston CFC Lab |  | none | none | none | all wells that have Helium or Noble gas samples sent to Lamont | all wells in select networks | none | * See 'Age Dating details' tab to see which Principal Aquifer Studies are sampled for Helium Screening
| 14C and 13C | S2255 | C 14 by AMS - WHOI contract | none | none | none | all wells | all wells | none
| Oxygen & Deuterium stable isotope ratios | S1142 'Reston Stable Isotope Lab |  | all wells | none | none | all wells | all wells | none
| Noble gases (Analysis 2: helium, neon, argon, xenon, krypton, 3He/4He ratio of helium) | Lamont-Doherty Lab (Analysis 2 'Reston CFC Lab) |  | none | none | none | wells in select Principal Aquifers | 0 | none | * See 'Age Dating details' tab to see which Principal Aquifer Studies are sampled for Noble gases to be analyzed at the Lamont Lab
| Noble gases (helium, neon, argon, xenon, krypton, 3He/4He ratio of helium) | Andy Hunt's USGS lab in Denver |  | none | none | none | wells in select Principal Aquifers | 0 | none | * See 'Age Dating details' tab to see which Principal Aquifer Studies are sampled for Noble gases analyzed at Andy Hunt's lab

## generic QC
General QC Requirements for Groundwater Assessments during NAWQA Cycle 3 (8/16/2013) *** Please view GWPlan for QC requirements specific to your network and State (http://internal.mdc.usgs.gov/apex/f?p=142:42:1563058982562163::NO:::)
QC requirements are based on the following:
number of wells | 30
number of wsc | 1 |  | per wsc | per wsc | per wsc | per 30 | per 30 | per 30
|  |  | Equipment Blank (before sampling) | Source Solution Blank | Field Blank | Replicate | Field Spike | Lab Spike | Pos/Neg Culture | Quanti-Tray pos/neg controls | Total Number QC samples
Field Measurements (DO, pH, SC, temp, alkalinity, turbidity) and water levels | Field Measurements (DO, pH, SC, temp, alkalinity, turbidity) and water levels | Field Measurements | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Basic Suite: Majors. Nuts. TEs, DOC | Major Inorganics | S2750 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 3
| Nutrients | S2755 | 1 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 5
| DOC (GF filter) | LC2613 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 3
| Trace Elements | S2710 | 1 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 5
Pesticides | New LCMS/MS (9030) | S2437 | 0 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 5
VOCs | Purge and Trap | S4436 | 1 | 4 | 3 | 1 | 0 | 1 | 0 | 0 | 10
| VOC Heated Purge and Trap | S4437 | 1 | 4 | 3 | 1 | 0 | 1 | 0 | 0 | 10
Pharmaceuticals | Human Health Pharmaceuticals | LC9017 | 1 | 2 | 1 | 1 | 0 | 1 | 0 | 0 | 6
| Hormones | S2434 | 1 | 2 | 1 | 1 | 0 | 1 | 0 | 0 | 6
Radionuclides | Radon | LC1369 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
| Radium isotopes (224 226 only) | LC2164 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
| Radium 228 | LC1364 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
| Gross alpha and beta | S1792 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
| Polonium-210 | LC1505 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
| Lead 210 | LC2170 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Microbial Indicators in GW | Total coliform, E. coli bacteria | Colilert quantitray (OMWL) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
| Enterococci bacteria | MEI method or Enterolert quantitray (OMWL) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
| Somatic and F-specific coliphage | method 1601 (OMWL) | 0 | 0 | 3 | 0 | 0 | 3 | 0 | 0 | 6 | 1 FB per WSC only if the WSC has more than 5 wells to sample
| Enteric viruses | method 1615 (OMWL) | 0 | 0 | 3 | 0 | 0 | 3 | 0 | 0 | 6
Age-Dating | Tritium (1 pCi/L) | LC 1565 Menlo Park Lab | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Helium (analysis 1) | S1033 Lamont-Doherty Lab (analysis1 CFC lab) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SF6 | Reston CFC Lab | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dissolved Gases | Reston CFC Lab | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4He Helium screening (all wells that go to Lamont should have Helium screening | Reston CFC Lab | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 14C and 13C | S2255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oxygen & Deuterium stable isotope ratios | S1142 'Reston Stable Isotope Lab | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Noble gases (analysis 2: helium, neon, argon, xenon, krypton, 3He/4He ratio of helium) | Lamont-Doherty Lab (Analysis 2 'Reston CFC Lab) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Noble gases (helium, neon, argon, xenon, krypton, 3He/4He ratio of helium) | Andy Hunt's USGS lab in Denver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73
Note on E13: Terri Arnold: 1 source solution blank with the equipment blank and 1 for each field blank.
Note on I13: Terri Arnold: LC4000
Note on E14: Terri Arnold: 1 source solution blank with the equipment blank and 1 for each field blank.
Note on I14: Terri Arnold: LC4000
Note on E15: Terri Arnold: 1 source solution blank with the equipment blank and 1 for each field blank.
Note on I15: Terri Arnold: LC4000
Note on E16: Terri Arnold: 1 source solution blank with the equipment blank and 1 source solution blank for each field blank.
Note on I16: Terri Arnold: LC4000

## Age Dating details
Updated 8/16/2013
Principal Aquifer name | Sucode | Fiscal Year | Number of wells currently planned | 4He Screening (Reston CFC lab) | Helium S1033 Lamont-Doherty Analysis 1 (3He/4He, helium, neon) | Noble gases Lamont-Doherty Analysis 2 (3He/4He, helium, argon, neon, krypton, xenon) | Noble gases Andy Hunt Lab (3He/4He, helium, argon, neon, krypton, xenon) | Notes
Basin and Range basin-fill aquifers | bnrfpas1 | 2013 | 80 | 80 | 80 | 0 | 0 | Wells with samples going to Lamont for Helium will have Helium screening first. If the Helium screening results indicate that the Helium samples can be analyzed at Lamont then the Helium samples can be submitted. Provide copies of results to Bryant Jurgens.
Coastal lowlands aquifer system | clowpas1 | 2013 | 60 | 60 | 60 | 0 | 0 | Wells with samples going to Lamont for Helium will have Helium screening first. If the Helium screening results indicate that the Helium samples can be analyzed at Lamont then the Helium samples can be submitted. Provide copies of results to Bryant Jurgens.
Glacial sand and gravel aquifers | glacpas1 | 2013 | 74 | 20 | 0 | * 20 | * 74 | * IL and MN will submit 20 samples to both the Lamont and Andy Hunt's labs to QA the results between the labs. Before submitting the 20 noble gas samples to Lamont, the 20 wells should have helium screening results. Provide copies of results to Bryant Jurgens.
Northern Atlantic Coastal Plain aquifer system | nacppas2 | 2013 | 60 | 0 | 0 | 0 | 60
Southeastern Coastal Plain aquifer system | secppas1 | 2013 | 80 | 80 | 80 | 0 | 0 | Wells with samples going to Lamont for Helium will have Helium screening first. If the Helium screening results indicate that the Helium samples can be analyzed at Lamont then the Helium samples can be submitted. Provide copies of helium screening results to Bryant Jurgens.
Valley and Ridge and Piedmont carbonate-rock aquifers | vpdcpas1 | 2013 | 60 | 60 | 30 | 30 | 0 | Wells with samples going to Lamont for Helium or Noble Gases will have Helium screening first. If the Helium screening results indicate that the Helium samples can be analyzed at Lamont then the Helium samples can be submitted. Provide copies of results to Bryant Jurgens.
Cambrian-Ordovician aquifer system | cmorpas1 | 2014 | 60 | 0 | 0 | 0 | 60
Central Valley aquifer system | cvaletn1 | 2014 | 18 | 18 | 18 | 0 | 0
Edwards-Trinity aquifer system | edtretn1 | 2014 | 18 | 18 | 18 | 0 | 0
Floridan aquifer system | florpas1 | 2014 | 30 | 0 | 0 | 0 | 30
Glacial aquifer system | glacetn1 | 2014 | 3 | 0 | 0 | 0 | 3
Glacial aquifer system | glacpas2 | 2014 | 43 | 0 | 0 | 0 | 43
Miss. Embayment-TX Coastal Uplands aquifer system | metxetn1 | 2014 | 18 | 0 | 0 | 0 | 18
Miss. Embayment-TX Coastal Uplands aquifer system | metxpas1 | 2014 | 60 | 0 | 0 | 0 | 60
Northern Atlantic Coastal Plain aquifer system | nacpetn1 | 2014 | 18 | 0 | 0 | 0 | 18
Piedmont and Blue Ridge crystalline-rock aquifers | piedpas1 | 2014 | 60 | 60 | 60 | 0 | 0
Rio Grande aquifer system | rgaqetn1 | 2014 | 3 | 3 | 0 | 3 | 0 | Wells with samples going to Lamont for Noble Gases will have Helium screening first. If the Helium screening results indicate that the Helium samples can be analyzed at Lamont then the Noble Gas samples can be submitted. Provide copies of results to Bryant Jurgens.
Rio Grande aquifer system | rgaqpas1 | 2014 | 60 | 60 | 0 | 60 | 0 | Wells with samples going to Lamont for Noble Gases will have Helium screening first. If the Helium screening results indicate that the Helium samples can be analyzed at Lamont then the Noble Gas samples can be submitted. Provide copies of results to Bryant Jurgens.

## Lab and sampling info
| Constituent | Schedule or Lab Code | Description | Lab | Link to Lab and information | Bottle description and link | Cap description and link | Links to Sampling and Shipping Protocols and sample submission forms | Notes
Field Measurements (DO, pH, SC, temp, alkalinity, turbidity) and water levels | Field Measurements (DO, pH, SC, temp, alkalinity, turbidity) and water levels | Field Measurements | none | None
Basic Suite: Majors. Nuts. TEs, DOC | Major Inorganics | S2750 | NAWQA, Major Inorganics, Filtered | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=2750&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q32FLD | cap included
| Nutrients | S2755 | NAWQA, Ground Water, Nutrients | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=2755&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q33FLD | http://1stop.usgs.gov/catalog/partdetail.aspx?PartNo=Q417FLD
| DOC (GF filter) | LC2613/LC2612 | Organic Carbon, Dissolved, (DOC), Water, Filtered, GLASS FIBER, Sulfuric Acid Preserved | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=l&sap=2613&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q28FLD | cap included
| Trace Elements | S2710 | NAWQA ICPMS 22 Element, Water, Filtered | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=2710&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q32FLD | cap included
Pesticides | New LCMS/MS (9030) | S2437 | This is the DIA-LC/MS/MS replacement method that will is intended to be broad spectrum and provide significant coverage for compounds previously determined by SH2033 and SH2060 while also adding a number of Tier 1 NTAS pesticide compounds. | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=2437&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=N1560 | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
VOCs | VOCs Purge and Trap | S4436 | Base schedule 2020 plus 13 Tier 2R (R = regulated) compounds. All 13 of these compounds either have an MCL or were on the EPA CCL3 list but were not elevated to Tier 1 status because they rarely occurred in GW. | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=4436&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=N1560 | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| VOC Heated Purge and Trap | S4437 | (Gasoline oxygenate degradation products and fumigants) | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=4437&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=N1140 | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| Use for both S4436 and S4437 | LC4000 lab spike | Sample spiking, organic, enviromental matrix, lab | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=l&sap=4000&uid=
Pharmaceuticals | Human Health Pharmaceuticals | LC9017 | Human-Health Pharmaceuticals, Wat, Fil, SPE Extract, HPLC/MS | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=l&sap=9017&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=N1560 | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| Hormones | S2434 | Hormones in filtered water | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=2434&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q36FLD | http://1stop.usgs.gov/catalog/partdetail.aspx?PartNo=Q417FLD | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| Use for both LC9017 and S2434 | LC4000 lab spike | Sample spiking, organic, enviromental matrix, lab | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=l&sap=4000&uid=
Radionuclides | Radon | LC1369 | Radon-222, Water, Unfiltered, Time Sensitive MUST be rcvd within 48 hrs of collection, Liq Scint | NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=l&sap=1369&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=N1390 | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| Radium isotopes (224 226 only) | LC2164 | Radium-224, Radium-226, Water, Filtered, by Alpha Spectrometry | Test America | http://wwwnwql.cr.usgs.gov/USGS/rn.shtml?13-018 | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q30FLD | cap included
| Radium 228 | LC1364 | Radium-228, Water, Filtered, by Radiochemical separation and Beta counting | Test America | http://wwwnwql.cr.usgs.gov/USGS/rn.shtml?13-018 | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q30FLD | cap included
| Gross alpha and beta | S1792 | Gross Alpha/Beta, wat, fil, 72h/30d, analyzed at TBD | Test America | http://wwwnwql.cr.usgs.gov/USGS/rn.shtml?13-018 | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q30FLD | cap included
| Polonium-210 | LC1505 | Polonium-210, Water, Filtered, by Alpha Spectrometry | Test America | http://wwwnwql.cr.usgs.gov/USGS/rn.shtml?13-018 | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q30FLD | cap included
| Lead 210 | LC2170 | Lead-210, Water, filtered, by Beta Counting | Test America | http://wwwnwql.cr.usgs.gov/USGS/rn.shtml?13-018 | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q30FLD | cap included
Microbial Indicators in GW | Total coliform, E. coli bacteria | Colilert quantitray (OMWL) | Microbes--bacteria | Ohio Microbiology Lab | http://130.11.184.63/internal/micro_NAWQA_bacteria_coliphage_protocol.htm | http://www.fishersci.com/ecomm/servlet/fsproductdetail_10652_592764__-1_0 | cap included - only one sterile 1-L bottle needed for colilert and enterolert analyses | http://130.11.184.63/internal/micro_NAWQA.htm
Lab Control
| Enterococci bacteria | Enterolert quantitray (OMWL) P31719 | Microbes--bacteria | Ohio Microbiology Lab | http://130.11.184.63/internal/micro_NAWQA_bacteria_coliphage_protocol.htm |  |  | http://130.11.184.63/internal/micro_NAWQA.htm
Lab Control
| Somatic and F-specific coliphage | method 1601 (OMWL) | Microbes--virus | Ohio Microbiology Lab | http://130.11.184.63/internal/micro_NAWQA_bacteria_coliphage_protocol.htm | http://130.11.184.63/internal/micro_NAWQA_bacteria_coliphage_protocol.htm | cap included | http://130.11.184.63/internal/micro_NAWQA.htm
|  | Lab Spike | Microbes--virus spike | Ohio Microbiology Lab |  |  | cap included
Age-Dating | Tritium (1 pCi/L) | LC 1565 Menlo Park Lab | Tritium | Menlo Park | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html | Tritium bottles are free from the Menlo Park Tritium Lab -- Request from Doug Choy, or Megan Young. Or they can be purchased from http://1stop.usgs.gov/catalog/partdetail.aspx?PartNo=Q35FLD | http://1stop.usgs.gov/catalog/partdetail.aspx?PartNo=Q417FLD | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| SF6 | Reston CFC Lab | Sulfur hexafluoride | Reston CFC Lab | http://water.usgs.gov/lab/sf6/ | http://water.usgs.gov/lab/sf6/sampling/SF6%20bottles.html | http://water.usgs.gov/lab/sf6/sampling/SF6%20bottles.html | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| Dissolved Gases | Reston CFC Lab | N2, Ar, CH4, CO2, O2 | Reston CFC Lab | http://water.usgs.gov/lab/dissolved-gas/ | http://water.usgs.gov/usgs/lab/shared/request.html | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| 4He Helium screening | Reston CFC Lab | Helium | Reston CFC Lab | http://water.usgs.gov/lab/3h3he/ | http://water.usgs.gov/usgs/lab/shared/request.html | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html | If helium or noble gase samples are to be sent to Lamont-Doherty Lab, then they should be pre-screened for 4He. Wait for results from 4He to decide if He and Noble gas samples should be sent to Lamont. If 4He concentrations too high then do NOT send He and Noble gases. Consult the Lamont Lab if questions.
| 14C and 13C | S2255 | C 14 by AMS - WHOI contract | Woods Hole Oceanographic Institute through NWQL | http://wwwnwql.cr.usgs.gov/USGS/catalog/index.cfm?a=bs&sa=s&sap=2255&uid= | http://1stop.usgs.gov/catalog/partdetail.aspx?partno=Q605FLD | http://1stop.usgs.gov/catalog/partdetail.aspx?PartNo=Q420FLD | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| Oxygen & Deuterium stable isotope ratios | S1142 'Reston Stable Isotope Lab | d18O & d2H | Reston Stable Isotope Lab | http://isotopes.usgs.gov/lab/services.html | http://1stop.usgs.gov/catalog/partdetail.aspx?PartNo=Q411FLD | cap included | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html
| Helium (Analysis 1: helium, neon, 3He/4He ratio of helium) | Lamont-Doherty Lab (Analysis 1/S1033 Reston CFC Lab) | Helium, Neon, 3He/4He | Lamont-Doherty through Reston CFC Lab | http://water.usgs.gov/lab/3h3he/contract/ | Fill out the equipment request form and the Lamont-Doherty Laboratory will provide the copper tubes for sample collection. http://water.usgs.gov/usgs/lab/shared/request.html | none | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html | Review results of 4He screening before submitting samples.
| Noble gases (Analysis 2: helium, neon, argon, xenon, krypton, 3He/4He ratio of helium) | Lamont-Doherty Lab (Analysis 2 Reston CFC Lab) | Helium, Neon, Argon, Krypton, Xenon, 3He/4He | Lamont-Doherty through Reston CFC Lab | http://water.usgs.gov/lab/3h3he/contract/ | Fill out the equipment request form and the Lamont-Doherty Laboratory will provide the copper tubes for sample collection. http://water.usgs.gov/usgs/lab/shared/request.html | none | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html | Review results of 4He screening before submitting samples.
| Noble gases (helium, neon, argon, xenon, krypton, 3He/4He ratio of helium) | Denver Noble Gas Lab - Andy Hunt | Helium, Neon, Argon, Krypton, Xenon, 3He/4He | Andy Hunt's USGS lab in Denver | Contact Andy Hunt for information ahunt@usgs.gov or (303)-236-4931 | Sample tubes can be ordered from the USGS Denver Noble Gas lab by sending an email request to Andy Hunt (ahunt@usgs.gov) . Please order 2 tubes per sample and place orders at least 2 weeks in advance of sampling. The copper tubes for the Hunt are smaller than the tubes from the Lamont lab so you MUST order your tubes from the correct lab. | none | http://water.usgs.gov/nawqa-only/ftsup/GW/GWSampleSumbission.html