Note: This USGS document has been superseded. USGS no longer updates this file, but it may be useful as an historical reference or resource.

See http://water.usgs.gov/owq/QAfolder/ for the latest documents.

Quality-Assurance Plan for Water-Quality Activities in the [State name] District

Compiled by [list name(s)]

Table of Contents

Abstract

In accordance with guidelines set forth by the Office of Water Quality in the Water Resources Division of the U.S. Geological Survey, a quality-assurance plan has been created for use by the [State name] District in conducting water-quality activities. This quality-assurance plan documents the standards, policies, and procedures used by the [State name] District for activities related to the collection, processing, storage, analysis, and publication of water-quality data. The policies and procedures that are documented in this quality-assurance plan for water-quality activities are meant to complement the District quality-assurance plans for surface-water and ground-water activities and to supplement the [State name] District quality-assurance plan.

1.0 Introduction

The U.S. Geological Survey (USGS) was established by an act of Congress on March 3, 1879, to provide a permanent Federal agency to perform the systematic and scientific “classification of the public lands, and examination of the geologic structure, mineral resources, and products of the national domain.” The Water Resources Division (WRD) of the USGS is the Nation’s principal water-resources information agency. The objectives of the WRD’s Basic Hydrologic Data Program are to collect and provide unbiased, scientifically based information that  describes the quantity and quality of waters in the Nation’s streams, lakes, reservoirs, and aquifers. Water-quality activities in the [State name] District are part of the WRD’s overall mission of appraising the Nation’s water resources.

To address quality-control issues that are related to water-quality activities, the WRD has implemented policies and procedures designed to ensure that all scientific work conducted by or for the WRD is consistent and of documented quality. The Office of Water Quality (OWQ) is responsible for providing a quality-assurance (QA) plan that documents the policies and procedures that apply to the water-quality activities in each District in the WRD.

A QA plan is a formal document that describes the management policies, objectives, principles, organizational authority, responsibilities, accountability, and implementation procedures for ensuring quality. Quality assurance, quality control, and quality assessment are all components of a QA plan. The terms are defined as follows:

Quality assurance (QA)—The systematic management of data-collection systems by using prescribed guidelines and criteria for implementing technically approved methods and policies. Quality assurance incorporates a comprehensive plan that outlines the overall process for providing a product or service that will satisfy the given requirements for quality.

Quality control (QC)—The specific operational techniques and activities used to obtain the required quality of data. Quality control consists of the application of technical procedures to achieve prescribed standards of performance and to document the quality of collected data. Quality-control data that do not meet required standards are used to evaluate and implement corrective actions necessary to improve performance to acceptable levels.

Quality assessment—The overall process of assessing the quality of environmental data by reviewing (1) the appropriate implementation of QA policies and procedures and (2) analyzing the QC data. Quality assessment encompasses both the measurable and unmeasurable factors that affect the quality of environmental data. Assessment of these factors may indicate limitations that require modifications to protocols or standard operating procedures for sample collection and analysis, or that affect the desired interpretation and use of the environmental data.

Quality-assurance, quality-control, and quality-assessment systems complement each other to provide a comprehensive QA program that ensures that quality objectives are identified and integrated into all levels of water-quality activities. By integrating these components into a discipline-wide QA guidance document, the OWQ hopes to enhance water-quality data collected by the USGS by providing for the following:

- Consistency in data quality across all levels of the WRD;

- Accountability to clients, the scientific community, regulatory agencies, and the general public;

- Comparability of results among samples, sites, and laboratories;

- Traceability from the end product back to its origins, and to all supplementary information, through written records;

- Application of appropriate and documented techniques that lead to similar results time and again;

- Representativeness of the data in describing the actual chemical composition of the biological or physical conditions at a sampling site for a given point or period in time; and

- Adequacy of the amount of data obtained to meet data objectives.

1.1 Purpose and Scope

The purpose of this District QA plan for water-quality activities is to document the standards, policies, and procedures used by the [State name] District for activities related to the collection, processing, storage, analysis, and publication of water-quality data. This plan identifies responsibilities for ensuring that stated policies and procedures are carried out. The plan also serves as a guide for all District personnel who are involved in water-quality activities and as a resource for identifying memoranda, publications, and other literature that describe associated techniques and requirements in more detail.

The scope of this QA plan includes discussions of the policies and procedures followed by the [State name] District for the collection, processing, analysis, storage, and publication of water-quality data. Although procedures and products of interpretive investigations are subject to the criteria discussed in this plan, some interpretive investigations may be required to have separate and complete QA plans. The policies and procedures documented in this QA plan for water-quality activities are intended to complement the District QA plan for surface-water and ground-water activities and supplement the [State name] District QA plan.

2.0 Organization and Responsibilities

Quality assurance is an active process of achieving and maintaining high-quality standards for water-quality data. Consistent quality requires specific actions that are carried out systematically in accordance with established policies and procedures. Errors and deficiencies can result when individuals fail to carry out their responsibilities. Clear and specific statements of responsibilities promote an understanding of each person's duties in the overall process of ensuring the quality of water-quality data.

2.1 Organizational Chart

The [State name] District’s organizational structure is similar to those of other Districts in the Division, but different program requirements from one District to another contribute to the uniqueness of these organizational structures. The following chart illustrates the organization of [State name] District personnel (fig. 2.1).

[Insert or attach District organizational chart.]

- 2.1. [State name] District organizational chart, [date (month and year)].

2.2 Responsibilities

The final responsibility for the preparation and implementation of and adherence to the QA policies that are described in this QA plan lies with the District Chief (Schroder and Shampine, 1992, p. 7). [This section of the QA plan is designed to be a detailed and comprehensive summary of responsibilities related to the QA of water-quality data. Responsibilities are assigned to personnel by title, not by name. Any delegations of the District Chief’s responsibility and authority should be stated clearly in the QA plan. In addition, the position title of the party responsible for future updates and revisions to the QA plan should be identified in this section.]

[Districts may find that the most effective way of writing this section of the plan is to prepare a list of all position titles of District personnel associated with water-quality data collection, processing, storage, and publication; then list the water-quality-related responsibilities held by that position. As other sections of this workbook are completed and further responsibilities are discussed, the lists of responsibilities can be appended. Finally, when the remaining sections of the workbook have been completed, this “Responsibilities “section can be revisited and finalized. Include project chiefs in the list of position titles and define their responsibilities in preparing QA plans as part of their proposals and workplans (Shampine and others, 1992, p. 2)].

Following is a list of responsibilities for selected District personnel who are involved in the collection, processing, storage, analysis, and publication of water-quality data:

The District Chief and designated management personnel are responsible for [The following are examples.]

- Managing and directing the District program, including designation of personnel responsible for managing all water-quality activities;

- Ensuring that water-quality activities in the District meet the needs of the Federal government, the [State name] District, cooperating State and local agencies, and the general public;

- Ensuring that all aspects of this QA plan are understood and followed by District personnel. This is accomplished by direct involvement of the District Chief or through clearly stated delegation of this responsibility to other personnel in the District;

- Providing final resolution, in consultation with the Water-Quality Specialist, of any conflicts or disputes related to water-quality activities within the District;

- Keeping subordinates briefed on procedural and technical communications from regional and Headquarters offices;

- Participating in technical reviews of all water-quality programs on a [select quarterly, semiannual, or specify other] basis;

- Ensuring that all publications and other technical communications released by District personnel are accurate and comply with USGS policy;

- [Continue to list other responsibilities of the District Chief and(or) designated managers.]

The District Water-Quality Specialist or designated representative is responsible for [The following are examples.]

- Ensuring that water-quality activities in the District meet the needs of the Federal government, the [State name] District, cooperating State and local agencies, and the general public;

- Preparing and implementing the District water-quality QA plan;

- Ensuring that all aspects of this QA plan are understood and followed by District personnel. This is accomplished by the Water-Quality Specialist’s direct involvement;

- Keeping District personnel briefed on procedural and technical communications from regional and Headquarters offices;

- Participating in technical reviews of all District water-quality programs on a [select quarterly, semiannual, or specify other] basis;

- Ensuring that all publications and other technical communications released by the District that relate to and include water-quality information are accurate and comply with USGS policy;

- Ensuring that the District QA plan is reviewed and revised at least once every 3 years to document current responsibilities, methodologies, and ongoing procedural improvements;

- [Continue to list other responsibilities as appropriate.]

The project chief is responsible for [The following are examples.]

- Managing and directing the project’s field and laboratory water-quality activities;

- Ensuring that the project’s field and laboratory water-quality activities meet the needs of the Federal government, the [State name] District, cooperating State and local agencies, and the general public;

- Ensuring that all aspects of this QA plan that pertain to the project’s field and laboratory water-quality activities are understood and followed by project personnel;

- Obtaining guidance, as appropriate, for project quality-assurance/quality-control (QA/ QC) activities from the District Water-Quality Specialist;

- Ensuring that QA/QC activities are properly carried out by the project staff;

- [Continue to list other position titles and associated responsibilities as desired.]

2.3 References Used for the Organization and Responsibilities Section

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 2.3. Summary of references for organization and responsibilities related to quality assurance

| Reference | Subject |
| --- | --- |
| Schroder and Shampine, 1992 | Guidelines for preparing a quality-assurance plan. |
| Shampine and others, 1992 | Integrating quality assurance into project workplans. |

3.0 Program and Project Planning

The District Chief has primary responsibility for overall District program planning and is responsible for ensuring that District projects are supportive of District and national priorities. All water-quality projects require review and approval prior to the commencement of work. Quality-assurance requirements should be integrated into the project proposal. Whether or not a separate QA plan will be required for a water-quality project will depend on the complexity of the work, the needs of the District or cooperator, or other criteria as described in Shampine and others (1992).

[The two following sections are separated into requirements for project proposals and project workplans. If your District does not differentiate between the two, combine the applicable text from each section and tailor it to meet your District’s policies. If your District requires separate documents, tailor these sections accordingly.]

3.1 Project Proposals (Revision 1, June 2002)

Project proposals are developed at the local level in response to requests by cooperating agencies, needs recognized by the WRD in working closely with other agencies, or national programs. District proposals conform to the format required by [name the Region or District and cite District and regional memoranda that provide applicable guidelines USGS employees can consult memoranda such as Northeast Region Memorandum 98.02, "Policy--Minimum requirements for the Approval of Project Proposals in the Northeast Region"; Central Region Memorandum 2001.01, "Policy--Update Procedures for Project Proposal Preparation and Submission Process - WRD, Central Region"; and Western Region Memorandum, Sept. 10, 1999, Programs and Plans--Preparation and Submission of Project Proposals"] .

Each proposal must  (l) state the problem or need for the study, (2) define objectives—what will be done to help solve the problem, (3) descibe the relevance and benefits--why should USGS conduct the study and how will the work support the goals of WRD; and (4) define the approach—how work will be done to accomplish the objectives. Revelance and benefits refer to USGS goals as expressed in the USGS Strategic Plan (accessed June 20, 2002, at http://www.usgs.gov/stratplan/stratplan.pdf), the WRD’s Strategic Directions (accessed June 20, 2002, at http://water.usgs.gov/admin/ memo/WRD/strategic_report.pdf), or the USGS Federal-State Cooperative Program Priorities (published annually by WRD memorandum). The approach consists of a detailed outline of the data-collection activities to be carried out (if new data are needed), the QA plans, the QC information needed, and the analytical techniques to be used. Project report plans, cost estimates, time schedules, and personnel requirements also are addressed. Consultation with regional and divisional specialists is encouraged in the preparation of proposals and in the execution of projects.

Review of project proposals is given high priority. Project proposals are reviewed by the appropriate District personnel [list positions] and, at the discretion of the District Chief, may be sent to other Districts for review. The [name the Region] provides final review and approval of all project proposals.

3.2 Project Workplan (Revision 1, June 2002)

Project workplans are developed from approved project proposals. The District requirements for the content, review, and revision of workplans are outlined below. [Cite appropriate District and regional memoranda that provide applicable guidelines.]

The [name the responsible party] prepares a detailed workplan that identifies all project work elements and the related technical methods and approaches that are necessary to satisfy project objectives. The workplan links project personnel, tasks, and functions with associated funds and indicates the projected dates for on-time completion of project elements and, ultimately, the project. Workplans for water-quality programs and projects, including programs and projects with water-quality components, should clearly state how the District’s “Quality-Assurance Plan for Water-Quality Activities” will be implemented.

Descriptions of the methods and approaches to be used to complete the technical elements of the project are required and include, for example, the design of environmental sample collection to meet the study objectives. Any new or unapproved field and laboratory methods that will be used must be described in detail. The plan lists the environmental sampling locations and frequency, a description of the sample types and their expected uses, and descriptions of laboratory tests.

Workplans also include a description of the design of QC sampling that is required to document bias and variability in the environmental data. The workplan lists QC sample types, the frequency of collection, and their intended uses. The types of QC samples that typically are collected include blanks and spikes to estimate bias and replicates to estimate variability (Mueller and others, 1997).

Workplans state anticipated methods for data analysis and presentation, including report plans. Accurate cost estimates are needed for personnel, materials, and services related to planned completion dates for properly budgeting the project. Assuring the availability of project personnel is often difficult and can impose serious constraints on completing project tasks; therefore, District management should be consulted to ensure adequate staff resources and to avoid the over-commitment of individuals to multiple projects. The project timeline lists major project elements and planned completion dates.

3.3 Project Review

Project reviews are conducted periodically by District management, technical advisors, or discipline specialists to ensure compliance with the project workplan or proposal. Project reviews are used to ensure that data collection, analysis, and reporting are being done in accordance with the workplan and with broader District policies and requirements. Quality-assurance activities with respect to project reviews are outlined in the next section.

[Use this section to document the means in which project reviews are conducted in your District. Items under “Review Documentation” below are included for guidance purposes, but are generally part of a District review process. Customize this section as appropriate.]

3.3.1 Review Schedules

The District has developed and implemented a review schedule for evaluating the technical development and progress of water-quality programs and projects, such as quarterly reviews or the 10-, 40-, 70-percent (10/40/70) project-completion milestones. Regularly planned reviews ensure that water-quality programs or projects are conducted efficiently to produce quality products on time. Informal reviews are part of ongoing quality assurance, whereby problems and related issues are addressed as they arise.

3.3.2 Review Documentation

The District has developed a method for documenting program and project reviews. The following information should be included in program and project review documentation: [Edit this section as appropriate.]

- Date of review

- Type of review (quarterly, 10/40/70, discipline)

- Names of reviewers and(or) attendees

- Responses to recommended action items from the last review

- Status, plans, and problems with data collection, data analysis, and report writing

- Major findings

- Cooperator/customer contacts

- Project-related training needs

- Recommended follow-up or action items

- Date for next review

The District archives all review comments that address the presence or absence of project deficiencies, all actions or recommendations for fixing deficiencies, or documentation explaining why a fix cannot be made. [Describe how project review comments are maintained and archived in the District.]

3.4 References Used in the Program and Project Planning Section

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 3.4. Summary of references for program and project planning

| Reference | Subject |
| --- | --- |
| Mueller and others, 1997 | Example of QC sample design used by NAWQA for surface-water sampling. |
| Shampine and others, 1992 | Integrating quality-assurance into project workplans. |

4.0 Water-Quality Laboratories

Two of the most critical issues for a long-term, national water-quality program are data comparability and data consistency. Because of the inherent variability among laboratories, one of the best ways to provide comparability and consistency is to use a single laboratory as much as is practical.

4.1 Selection and Use of an Analytical Laboratory

The National Water Quality Laboratory (NWQL) was established as the laboratory to meet the needs of the WRD, and it is the required laboratory for use in all WRD national water-quality programs (WRD Memorandum 92.036*). However, there are conditions for selecting a laboratory other than the NWQL.

[*USGS memoranda cited in this report are listed in section 13.1, USGS Memoranda.]

4.1.1 Selection

Contract or cooperator laboratories can be used when the cooperative agreement designates a laboratory other than the NWQL or when analytical services are required that cannot be provided by the NWQL. Research laboratories can be used for developing analytical techniques or to provide data for research purposes, and these laboratories are generally exempt from approval requirements that other laboratories must meet (WRD Memorandum 92.035; OWQ Technical Memorandum 98.03). District laboratories generally can be used when analyses must be done within a few hours of sample collection and cannot be done conveniently in the field.

4.1.2 Requirements for Use (Revision 1, June 2002)

All laboratories that provide analytical services to the WRD for non-research purposes must meet the requirements of the WRD, as described in WRD Memorandum 98.03 (supersedes 92.035), before any analytical data can be stored in the WRD National Water Information System (NWIS) data base (discussed in Section 10) or published by the WRD. Laboratories affected by this policy include those that provide chemical, biological, radiochemical, stable isotope, or sediment analytical services. The [identify the responsible party] is responsible for assuring that all laboratories providing analytical services to the District have met the requirements for approval. These laboratories must do the following:

- Use approved and published analytical methods—Analytical methods must be approved and published by one of the following sources: USGS; U.S. Environmen

tal Protection Agency (USEPA); American Public Health Association, American Water Works Association, and Water Environmental Federation (Standard Methods); or American Society for Testing and Materials (ASTM). The publication of the method must include documentation for the analytical techniques and chemical processes plus the expected data quality. If a specific analytical method not published by the sources listed above is requested for a specific project, it is the responsibility of the WRD office requesting the analysis to have the method approved based on requirements specified in WRD Memorandum 82.028 before the analytical data from this method are published and(or) stored in the USGS national data base.

- Have standard operating procedures (SOP’s) for analytical methods—All analytical methods must have documented SOP’s that are approved in accordance with procedures contained in the laboratory QA plan.

- Have an approved laboratory QA plan—The laboratory must have an approved QA plan that is supplied to WRD customers upon request. The laboratory QA plan should provide internal guidance and documentation that will ensure the laboratory is operating under a standardized, rigorous QA program and is producing analytical results of a known and documented quality. The laboratory QA plan should describe QA activities, QC procedures and requirements, performance acceptance criteria, and required corrective actions that will be taken if the criteria are not met.

- Have a documented QC program that provides the data necessary to continuously track the bias and variability of analytical data. All QC information, such as QC

charts, analysis of laboratory QC samples, calibration records, and analyst bench logs should be maintained for at least 5 years and be available upon request to WRD customers.

- Demonstrate the ability to provide the analytical services required—Laboratories can demonstrate the ability to provide the required analytical services by participation in existing USGS or non-USGS certification/evaluation/round-robin programs or by documentation of similar projects (OWQ Technical Memorandum 98.03). The USGS Standard Reference Sample (SRS) round-robin program is required for analytes included in the SRS (http://btdqs.usgs.gov/srs/) samples.

4.2 Laboratories Used by the District

The laboratories used for analytical services by District projects are shown in table 4.2. The analyses provided, the dates used, and the person who has been the primary contact at the laboratory also are provided in the table.

[Fill in the following table with information about the laboratories that are currently used by the District. As the use of current laboratories is discontinued, enter an ending date and keep the record in the table to develop a history of the laboratories used by the District. Records for laboratories no longer used by the District may be entered to provide a more complete historical document for the District, but the historical entries are not required.]

- 4.2. Laboratories used for District projects

| Project | Analytical laboratory | Analyses provided (by general category) | Laboratory contact | Dates used |
| --- | --- | --- | --- | --- |

4.3 Documentation for Laboratories Used by the District

[A previous section listed requirements that laboratories used by the WRD must meet. The intent of this section is to provide a single, organized location for information about the laboratories used by the District. In this section, the District can identify specific references, locations, methods of access, contacts, etc., for the documentation and data required from each laboratory.]

- Methods used—[Identify the references or location of references for the methods used by this laboratory.]

- Laboratory QA plan—[Identify a reference and(or) location of the laboratory’s QA plan.]

- QC program—[Identify the reference and(or) locations of documents that describe the QC program(s) used by the laboratory. Also identify the location and method of access to the QC data that will provide estimates of analytical bias and variability.

Include information about external QC programs that provide estimates of bias and variability about the laboratory.]

- Certification/evaluation/round-robin programs—[List or identify the location of information that describes the laboratory’s participation and performance in these programs.]

- Dates and participants of laboratory reviews—[List or identify the location of documents that describe the dates of required laboratory reviews, the participants, and the location of the review document.]

- [Identify other miscellaneous services and sources of information available from the laboratory.]

4.3.1 National Water Quality Laboratory (Revision 1, June 2002)

- Methods used—The NWQL uses approved methods for determination of organic, inorganic, and radioactive substances in water, sediments, and biological tissues. The methods used include methods approved by the USGS, USEPA, the American Public Health Association, the American Water Works Association, the Water Environmental Federation, and the ASTM. A list of some analytical methods currently

used at the NWQL can be found on the World Wide Web at  http://wwwnwql.cr.usgs.gov/Public/ref_list.html.

Other analytical methods from the USEPA that are currently used at the NWQL can be found on the World Wide Webb at http://www.epa.gov./epahome/publications.htm. Analytical methods from the ASTM that are currently used at the NWQL can be found on the World Wide Web at  http://www.astm.org.

- QA plan—The NWQL quality-assurance plan is contained in Pritt and Raese (1995). A copy of this report can be obtained by sending an Email request to nwqlqc@usgs.gov .

- QC program—Quality control at the NWQL is monitored by three programs: (1) the internal blind sample program, (2) the external blind sample program, and (3) bench level QC samples. Information about the internal blind sample program and bench level QC samples can be obtained by sending an Email request to nwqlqc@usgs.gov . Information about the external blind sample program can be found at the following World Wide Web location:  http://btdqs.usgs.gov/bsp/Fact.Sheet.html

- Performance evaluation studies and certification programs—The NWQL participates in performance evaluation studies and laboratory certification programs. A list of the current programs and a description of each can be found by sending an Email request to nwqlqc@usgs.gov .

- Laboratory reviews—External agencies and customer organizations audit the NWQL to assess analytical methods and QA/QC programs. A table of audits that shows the

year reviewed, reviewing agency, and purpose of the review can be obtained by sending an Email request to nwqlqc@usgs.gov .

- Miscellaneous services—Information about and access to other services offered by the NWQL can be found by USGS employees on the World Wide Web in-house home page at http://wwwnwql.cr.usgs.gov/USGS/profile.html. The services offered include but are not limited to the following:
			Biological unit
			Chain-of-custody procedures
			Contract services
			External performance evaluations
			Laboratory services catalogue
			Methods Research and Development Program
			Organic spike kits
			Publications
			Quality assurance of selected field supplies
			SPiN (schedules, parameters, and network record)
			Technical memoranda

4.3.2 [Enter laboratory name]

- Methods used—

- QA plan—

- QC program—

- Certification programs—

- Laboratory reviews—

- Miscellaneous services—

4.4 References Used for the Water-Quality Laboratories Section (Revision 1, June 2002)

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of this report.

- 4.4. Summary of references for selecting and using water-quality laboratories

| Reference | Subject |
| --- | --- |
| OWQ Technical Memorandum 98.03, revised (USGS) | Policy for the evaluation and approval of production analytical laborato ries. |
| Pritt and Raese, 1995 | Quality assurance/quality control manualNWQL. |
| WRD Memorandum 82.028 (USGS) | Acceptability and use of water-quality analytical methods. |
| WRD Memorandum 92.036 (USGS) | Policy of the WRD on the use of laboratories by national water-quality programs. |
| OWQ Technical Memorandum 98.05 | Policy for approval of USGS water-quality analytical methods |
| http://btdqs.usgs.gov/srs/ | USGS Standard Reference Sample Program |

5.0 Field Service Units and Laboratories, Mobile Labs, and Field Vehicles

The District maintains laboratory facilities, such as Field Service Units, mobile labs, and field vehicles for use in preparing equipment for field activities, processing samples, performing sample analysis, and preparing samples for shipment to analytical laboratories. This section documents the District’s criteria for maintaining and operating these facilities.

5.1 Field Service Units and Laboratories

[In some Districts or field offices, the Field Service Unit may consist of an organizational unit responsible for maintaining a laboratory and field staging area, supplies, and equipment for general District use. In other Districts or field offices, the Field Service Unit may be simply a laboratory space or staging area, and responsibility for maintaining the space and providing equipment and supplies rests with project personnel who use the space. Laboratories may include a building or trailer where laboratory analyses are performed either routinely or temporarily to meet program needs. All Field Service Units and laboratories maintained by the District should be included here.]

The [name of unit or laboratory] consists of [title of unit manager and list of staff]. The unit assists and supports water-quality activities by providing field instrumentation maintenance and calibration, preparations for sample collection, and QA for these activities. The unit maintains a supply of instruments, equipment, and expendable supplies needed by field personnel for water-quality sample collection and analysis.

5.1.1 [Facility Name] (Revision 1, June 2002) (Note: Sections 5.1.1, 5.1.1.1, and 5.1.1.2 can be copied and renamed for additional entries: for example, 5.1.2 [Facility Name], 5.1.2.1 Procedures, 5.1.2.2 Equipment and Supplies, 5.1.3 etc.)

[The following paragraphs and table should be repeated for each of the District facilities.]

The District maintains a [name of unit or laboratory] located in [location of facility]. The [name of facility] contains laboratory benches, glassware, sinks, chemical storage cabinets, and other equipment and instruments listed in table 5.1.1. [Identify the responsible party] has responsibility for maintenance of the [name of facility] and QA of the equipment and instruments provided by the [name of unit or laboratory]. The facility is maintained in accordance with standards set forth in the [State name] District chemical-hygiene plan ([reference the District chemical-hygiene plan]; Branch of Operations Technical Memorandum 91.01).

- 5.1.1. [Example table of equipment and instruments that are the responsibility of the Field Service Unit. Fill in the table as appropriate for your District.] Equipment and instruments provided by [name of unit or laboratory] and quality assurance

[OWQ, Office of Water Quality; NA, not applicable]

| Laboratory equipment | Quality assurance |
| --- | --- |
| Laboratory balance | Calibration checked annually |
| Refrigerator at 4 C | Temperature monitored weekly. |
| Fume hood | Calibrated annually. |
| Supply of deionized water | Maintained per OWQ Tech. Memo 92.01. |
| Ventilated acid cabinets | NA |
| Wash sink with drying rack | NA |
| Vacuum pump | NA |
| Drying oven | Calibration monitored weekly. |
| Autoclave | Maintained per manufacturer’s instructions. |
| Incubators | Calibration monitored biannually. |
| Freezer | Temperature monitored weekly. |
| Lab pH and specific conductance meter | Calibrated each use |

5.1.1.1 Procedures  (Revision 1, June 2002)

[Name of unit or laboratory] is managed by [title of unit or laboratory manager]. This person is responsible for maintaining the laboratory space, supplies, and equipment listed above. The unit maintains QA records of laboratory equipment and supplies, such as calibration standards, chemical reagents, sample preservatives, and sample bottles that are provided to field personnel. The [identify responsible party] is responsible for repair and maintenance of project water-quality equipment and instruments. The [identify responsible party] oversees the District waste-disposal practices to ensure that procedures are in compliance with State and Federal regulations. The unit operations comply with the [State name] District chemical-hygiene plan. The operation of the unit is reviewed annually by [designate District staff] and every 3 years by the OWQ.

5.1.1.2 Equipment and Supplies (Revision 1, June 2002)

It is the responsibility of [designate District staff] to order, store, and quality assure the following field equipment and supplies as needed by field personnel. [Complete the list of "field equipment and supplies" with supplies provided by the District Field Service Unit.]

- 5.1.1.2. Summary of information on supplies, equipment, and instruments in the [State name] District
[RP, responsible party; NIST, National Institute of Standards and Technology]

| Supplies, equipment, and instruments | Source and guidelines for QA | Responsible party |
| --- | --- | --- |
| Sample bottles | [List sources, such as purchase from Water- Quality Service Unit (OWSU) in Ocala, Fla., or guidelines for preparation and QA by laboratory manager.] | [Identify RP, such as laboratory manager or project chief.] |
| Coolers/shipping containers | [List source and guidelines for QA; refer to OWQ Tech. Memo 92.06.] | [Identify RP, such as laboratory manager or project chief.] |
| Sample preservatives | [List source.] | [Identify RP, such as laboratory manager or project chief.] |
| pH calibration standards | Commercially prepared buffers, traceable to NIST Standard Reference Material. | [Identify RP, such as laboratory manager or project chief.] |
| Specific conductance calibration standards | [List source, such as purchase from OWSU, or guidelines for preparation and QA by laboratory manager.] | [Identify RP, such as laboratory manager or project chief.] |
| Blank water for QA | [List source; refer to NWQL Memo 92.01.] | [Identify RP, such as laboratory manager or project chief.] |
| Deionized water | [Describe source and guidelines for QA; refer to OWQ Tech. Memo 92.01.] | [Identify RP, such as laboratory manager or project chief] |
| [List other supplies if appropriate.] |  |  |
| Isokinetic water-quality samplers | [Specify guidelines for purchase and QA.] | [Identify RP, such as laboratory manager or project chief] |
| Splitting devices | [Specify guidelines for purchase and QA.] | [Identify RP, such as laboratory manager or project chief] |
| [List other equipment if appropriate.] |  |  |
| Specific conductance meters | [Specify guidelines for purchase and QA.] | [Identify RP, such as laboratory manager or project chief.] |
| pH meters | [Specify guidelines for purchase and QA.] | [Identify RP, such as laboratory manager or project chief.] |
| [List other instruments.] |  |  |

5.2 Mobile Labs and Water-Quality Field Vehicles

[In some Districts, mobile laboratories may be considered an extension of the Field Service Unit so that these two sections could more appropriately be combined. If vehicles are used for hazardous-waste site activities, include appropriate guidelines and safety information.]

Mobile labs and field vehicles refer to all vehicles that are designed, designated, and outfitted for use during water-quality sample-collection and processing activities at or near sample-collection sites. The District maintains vehicles designated for water- quality sample collection and processing. If a non-designated vehicle must be used for water-quality work, portable processing and preservation chambers are used for sample processing, and extra QC samples are collected to document that the data have not been compromised. Refer to the National Field Manual for the Collection of Water-Quality Data (U.S. Geological Survey, 1997-present) for guidelines on procedures for collecting and processing water-quality data (USGS Techniques of Water-Resources Investigations (TWRI), book 9, chaps. A1-A9).

A field vehicle is designated as a water-quality field vehicle when it meets criteria to maintain a non-contaminating environment for the constituents being sampled. The work area must be maintained to eliminate sources of sample contamination. Specifications for vehicles used when sampling for water-quality constituents are discussed by Horowitz and others (1994) and in the National Field Manual (Wilde and others, eds., 1998a, TWRI book 9, chap. A2.3) and include the following: [Amend the list below according to your District’s criteria for water-quality field vehicles.]

- Materials used for cabinets, storage, and work surfaces must be easy to maintain, made of or covered with non-contaminating materials, and such that they can be cleaned with water or solvents as appropriate. Cargo must be restricted to equipment and supplies related to water-quality sample collection unless stored in a separate compartment. No potentially contaminating equipment or supplies, such as sounding weights, solvents, fuel, etc., may be transported in the interior compartment of the vehicle.

- A dust barrier exists between the cab and work area of the vehicle.

[Identify responsible party] is responsible for vehicle maintenance, for maintaining the suitability of the vehicle for water-quality sample collection, and for keeping the vehicle supplied.

5.3 References Used for the Field Service Units and Laboratories, Mobile Labs, and Field Vehicles Section (Revision 1, June 2002)

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 5.3. Summary of references for Field Service Units and laboratories, mobile labs, and field vehicles

| Reference | Subject |
| --- | --- |
| Branch of Operations Technical (OP) Memoran dum 91.01 (USGS) | SafetyChemical-Hygiene Plan. |
| Horowitz and others, 1994 | Protocol for collecting and processing samples for inorganic analysis. |
| NWQL Memorandum 92.01 (USGS) | Availability of equipment blank water for inorganics and organics. |
| OWQ Technical Memorandum 92.01 (USGS) | Distilled/deionized water for District operations. |
| OWQ Technical Memorandum 92.06 (USGS) | Recommended guidelines for shipping samples to the NWQL. |
| U.S. Geological Survey, 1997-present | National Field Manual for the Collection of Water-Quality Data, chaps. A1-A9 |
| Wilde and others, eds., 1998a (National Field Manual, TWRI book 9, chap. A2.3) | Guidelines for field vehicles. |

6.0 Water-Quality Instruments

The [State name] District complies with the WRD policy of providing personnel with high-quality field instruments and equipment that are safe, precise, accurate, durable, reliable, and capable of performing required tasks (WRD Memorandum 95.35). Accordingly, appropriate instruments for use in water-quality projects in the District should be selected based upon the specifications described in the USGS "National Field Manual for the Collection of Water-Quality Data" (TWRI book 9, chaps. A1-A9) and the requirements of the project. The Hydrologic Instrumentation Facility (HIF), which provides analyses of precision and bias for water-quality instruments, also should be consulted for recommendations when appropriate. Consultation with [identify responsible party] should be done if project personnel need assistance with the selection or use of equipment.

All instruments used by District personnel for water-quality measurements are to be properly operated, maintained, and calibrated. For correct operation of any field or laboratory equipment, the manufacturer’s operating guidelines should be carefully followed. Most instruments will be calibrated in the field prior to making the sample measurements, as described below. Information regarding the preparation and storage of calibration standards is provided in Section 5.0 of this QA plan.

Thorough documentation of all calibration activities associated with water-quality data collection is a critical element of the District QA program. Calibration and maintenance records of field equipment, including the manufacturer, make, model, and serial or property number are to be kept. [Describe District standard procedures for storing calibration information, such as information that is recorded on field sheets or permanent log books. Note differences between the hydrologic data program and projects, if appropriate.] Similar records for District laboratory equipment are to be kept by [identify position of responsible party, such as laboratory manager]. Information that is required to be included with the calibration and maintenance records includes the date, initials and last name of the individual performing the activity, results of calibration or equipment check, and any actions taken. Calibration and maintenance records are checked for completeness and accuracy. [State the District’s standard procedure on how frequently records are checked and by whom.]

[The District also should include additional information, as appropriate, concerning recommended procedures for the use of single or multiparameter water-quality monitors for continuous monitoring. For example, provide statements describing standard procedures for the installation of continuous monitors, guidelines on the frequency of inspection and servicing (or the use of local observers to provide systematic cleaning and report malfunctions), and the documentation requirements for each servicing trip (Wagner and others, 2000).]

6.1 Calibration of Water-Quality Instruments (Revision 1, June 2002)

Table 6.1. provides summary information regarding the calibration methods, acceptance criteria, calibration frequency and location, responsible persons, and references for specific instructions for the calibration and use of water-quality instruments to measure selected parameters in the [State name] District.

- 6.1. Summary of calibration information for water-quality instruments used to measure selected parameters in the [State name] District
[NIST, National Institute of Standards and Technology; RP, responsible party; TWRI, Techniques for Water-Resources Investigations]

| Parameter | Calibration method used | Acceptance criteria and response if not acceptable | Calibration frequency and location | Responsible person | Reference for calibration and use |
| --- | --- | --- | --- | --- | --- |
| Temperature | NIST-certified thermometer | [Specify acceptable range, such as within 3 or 5 percent; and response, such as replacement.] | [Specify frequency, such as semi-annually] in laboratory. | [Identify RP, such as laboratory manager.] | Wilde and Radtke, eds., 1998 (TWRI book 9, chap. A6.1); see manufacturer’s instructions. |
| Specific conductance | At least two standards, bracketing expected values | [Specify acceptable range, such as within 3 or 5 percent; and response, such as cleaning or replacement of probe.] | Daily in field, if appropriate, prior to taking measurements. | Field personnel or [identify RP, such as laboratory manager], as appropriate. | Wilde and Radtke, eds., 1998 (TWRI book 9, chap. A6.3); see manufacturer’s instructions. |
| pH | Two-point calibration, bracketing expected values | [Specify acceptable range, such as calculated slope must be within 5 percent of theoretical slope; and response, such as cleaning or replacement of probe.] | Daily in field, if appropriate, prior to taking measurements. | Field personnel or [identify RP, such as laboratory manager], as appropriate. | Wilde and Radtke, eds., 1998 (TWRI book 9, chap. A6.4); see manufacturer’s instructions. |
| Dissolved oxygen | [Specify standard procedure, such as air calibration in water.] | [Specify acceptable range, such as within 3 or 5 percent; and response, such as changing membrane or replacement of probe.] | [Specify frequency, such as daily or at each sampling site] in field or laboratory, as appropriate, prior to taking measurements. | Field personnel or [identify RP, such as laboratory manager], as appropriate. | Wilde and Radtke, eds., 1998 (TWRI book 9, chap. A6.2); see manufacturer’s instructions. |
| Barometric pressure | Mercury barometer | [Specify acceptable range, such as within 5 millimeters Hg; and response, such as replacement.] | [Specify frequency, such as quarterly.] | [Identify RP, such as laboratory manager.] | See manufacturer’s instructions. |
| Other parameters, such as turbidity or redox, as appropriate |  |  |  |  |  |

6.2 References Used for the Water-Quality Instruments Section (Revision 1, June 2002)

Table 6.2 provides a list of reports and(or) memoranda referred to in this section on water-quality instruments. For a complete citation, refer to Section 13.0 of the report.

- 6.2. Summary of references for water-quality instruments

| Reference | Subject |
| --- | --- |
| U.S. Geological Survey, 1997-present | National Field Manual for the Collection of Water-Quality Data, TWRI Book 9, chaps. A1-A9 |
| Wilde and Radtke, eds., 1998-present (TWRI book 9, chap. A6) | Calibration of water-quality instruments. |
| WRD Memorandum 95.35 (USGS) | Instrumentation plan for the WRD and the hydrologic field instrumentation and equipment policy and guidelines. |
| Wagner and others, 2000 | Guidelines and standard procedures for continuous water-quality monitors |

7.0 Site Selection and Documentation

Deciding where to sample is an important initial step toward achieving project objectives and meeting District QA/QC requirements. Once a site is selected, thorough documentation, usually in the form of a station description, is required.

7.1 Site Selection

Site selection for sampling is important to the validity of water-quality data. Selection of a suitable site can be made only after considering a number of factors, including the need for information in a particular location, the suitability of a site for sampling, and its accessibility and safety. Specific guidelines for site selection are contained in Wilde and others (1998, chap. A1). The project chief is responsible for the selection of sampling sites, after consultation with the Water-Quality Specialist and the Surface-Water or Ground-Water Specialist, as appropriate.

7.1.1 Surface Water (Revision 1, June 2002)

If possible, water-quality stations are located at or near streamflow-gaging stations. If this is not possible, the water-quality station should be located where the stream discharge can be measured and water samples can be collected at all stages of flow to be monitored. If the water-quality station is located too close downstream from either the confluence of two or more streams or a point source of pollution, the collection of a representative sample may be difficult because of incomplete mixing. Under such conditions, the criteria for the minimum number of vertical transects sampled may need to be increased, and lateral mixing should be documented with cross-sectional surveys at various stages of flow.

7.1.2 Ground Water (Revision 1, June 2002)

The selection of wells for ground-water sampling is dependent on many variables, including location, depth and accessibility of the well, type of well completion, availability of geologic and water-use information, and sampling purpose(s). If suitable existing wells cannot be found, new wells will need to be installed.

7.1.3 Other Sites

[The District should include additional information, as appropriate, concerning selection of other types of sites, such as lakes, estuaries, and wet and dry deposition.]

7.2 Site Documentation

The project chief constructs a site file containing descriptive information on location, conditions, purpose, and ancillary information for all new water-quality data-collection sites (Schroder and Shampine, 1995). Much of this information also is stored electronically in computerized site files maintained by the Data Management Section. [Identify responsible party] is responsible for assuring that the site file is maintained for each data-collection site. Archiving of this information is discussed in Section 10.4.

7.2.1 Surface Water

A station description is prepared for each water-quality station that is sampled on a regular or periodic basis. Sites established at existing surface-water gaging stations commonly will need only supplemental information to complete the description. Other surface-water sites, such as lakes, estuaries, and coastal waters, may require varying amounts of supplemental information to complete the station descriptions. Normally, the minimum electronically stored information required for a surface-water station record is dictated by the National Water Information System (NWIS) software used by the District. The minimum information required for establishing electronic files in NWIS for surface water is listed in table 1-1 in Wilde and others (1998, chap. A1). For continuous water-quality monitoring sites, station-description requirements are presented by Wagner and others (2000).

[Most Districts expand upon these requirements, and these additional data criteria should be listed in this section of the report. All information about the station or sampling site that is mandated by District policy should be clearly stated in this section of the report.]

7.2.2 Ground Water (Revision 1, June 2002)

A well file (analogous to a surface-water station description) is prepared for each well that is sampled on a regular or periodic basis. Normally, the minimum electronically stored information required for a ground-water-quality site is dictated by the NWIS software used by the District. The minimum information required for establishing electronic files in NWIS is listed in table 1-4 in Wilde and others (1998, chap. A1). Paper documents, such as agreements for use of the well between the well owner and the USGS, also should be stored in the appropriate file.

In order to standardize and facilitate the processing of water-quality data in [District], and to assure that water-quality data are entered into the proper database in a timely manner, the following procedures will be used:

- Site-header records will be established for each new site at which water-quality samples will be collected or have been collected. Header record must exist in the NWIS site file before the return of analytical data from the NWQL. New site-header data must be checked by Project or Field Office personnel. These verified records, as well as the resulting water-quality data, will be stored in the NWIS water-quality database for [District]. The responsibility for entry of the site-header records and maintenance of the site-header records file currently rests with _____________. The pertinent information that comprises the

header must be entered into the system prior to but no later than __ days after sample collection.

- For each sample that will be sent to the NWQL for analysis, an Analytical Services Request (ASR) form will be completed by the Project or Field Office Chief with a copy (or facsimile) retained in a project file as part of the sample tracking system. For USGS employees, ASR forms can be downloaded from the NWQL (http://wwwnwql.cr.usgs.gov/USGS/USGS_srv.html)and filled out.

- ____________ is responsible for tracking all pending samples submitted for analysis. Sample status at the NWQL can be tracked from login to completion of analysis (see section 9.0).

For continuous water-quality monitoring sites, station-description requirements are presented by Wagner and others (2000).

[All information about the well that is mandated by District policy should be clearly stated in this section. Districts should reference their ground-water site inventory form and ground-water-quality field form to draw attention to the data needed during the site- selection phase of the project.]

7.2.3 Other Sites

[Documentation for other types of sites, such as lakes, estuaries, and wet and dry deposition, should be stated in this section of the report.]

7.3 References Used for the Site-Selection and Documentation Section (Revision 1, June 2002)

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 7.3. Summary of references for site selection and documentation for water-quality programs

| Reference | Subject |
| --- | --- |
| Schroder and Shampine, 1995 | Guidelines for documenting new water-quality data-collection sites. |
| Wagner and others, 2000 | Guidelines and standard procedures for continuous water-quality monitors |
| Wilde and others, 1998 (TWRI book 9, chap. A1) | Establishing electronic NWIS files for surface- and ground-water data. |

8.0 Sample Collection and Processing

Water-quality data collected by the USGS are used by agencies throughout the Federal, State, and local levels to guide their decisions concerning the appropriate and efficient management of water resources for the Nation. Water-quality data are collected as part of such Federal programs as the National Stream-Quality Accounting Network (NASQAN) and the National Water-Quality Assessment (NAWQA) Program, as well as cooperative projects jointly funded by local or State agencies, and are a vital component of water-resources activities performed by the USGS and the [State name] District.

The primary objective in collecting a water-quality sample is to obtain environmental data that are representative of the system that is being studied. Sampling and processing techniques for specific constituents may vary according to the general class of compound, such as inorganic or organic chemicals. If incorrect sampling procedures produce a nonrepresentative sample, or if the sample is contaminated or degraded before analysis can be completed, the value of the sample is limited and the data are questionable. Therefore, compliance with documented and technically approved sample-collection and processing protocols is critical to ensuring the quality of water-quality data.

It is the policy of this District that all personnel involved in collecting and processing water-quality data will be adequately informed and trained regarding water-quality data-collection and processing procedures established by the WRD. [If appropriate, provide additional information about District policy pertaining to conformance to WRD guidelines for collecting and processing water-quality samples.] Because of rapid changes in technology, however, new and improved methods for sample collection and processing are continually being developed. All District personnel who are involved in water-quality sampling must be aware of changing requirements and recommendations. The [identify the responsible party] is responsible for providing current information to field personnel on the correct protocols to follow in collecting and processing water- quality samples.

The Project or Field Office Chief also is responsible for seeing that field personnel take the following steps to ensure the quality and integrity of the District’s water-quality data:

Instantaneous Water-Quality Data

- Samples must be collected and processed according to prescribed WRD protocols, as described and referenced below.

- All samples must be shipped to the laboratory from the field in an expedient manner, within the required holding times for each analysis.

- All samples should be logged into NWIS (usually within 7 days of sample collection) prior to the completion of analysis and transmittal of the results back to the District.

- All analytical data must be reviewed in a timely manner and within the required holding times for each analysis (to allow time for re-analysis), and fully documented in the station analysis file.

Continuous Water-Quality Data

- The site should be vertically and horizontally well-mixed in the cross section.

- Location of the sensors must be fully documented.

- All pertinent information regarding the site, cross-sectional variability, equipment maintenance, and data shifts must be fully documented and included in the station analysis file.

Monitors must be inspected and calibrated as frequently as required to obtain as complete a record as possible.

- Sites should be operated as described by Wagner and others (2000).

8.1 Constituents in Water

Most studies that are designed to evaluate the water quality of an aquatic system are based upon analyses of physical and chemical parameters associated with the water. Physical parameters generally are measured in the field, whereas most chemical parameters require laboratory analysis. This section of the QA plan includes an overview of relevant District and WRD policies, as well as references for specific procedures pertaining to the measurement of field parameters and the collection and processing of samples for water-quality analysis. Information in this section is drawn primarily from the National Field Manual—a TWRI that  describes in greater detail the recommended and required policies and procedures for collecting and processing water-quality samples in the WRD. Additional sources of information include manuals published by the NAWQA Program (Shelton, 1994; Koterba and others, 1995). The project proposal and workplan also should be consulted for specific guidelines for field personnel regarding details of sample collection and processing.

8.1.1 Field Measurements

Routine field measurements include temperature, dissolved-oxygen (DO) concentration, specific conductance (conductivity), pH, and alkalinity. Other types of measurements that also may be necessary for specific projects include acid neutralizing capacity, reduction-oxidation potential (Eh), and turbidity. District procedures for collecting field measurements in surface- and ground-water systems are provided in chapter A6 of the National Field Manual (Wilde and Radtke, eds., 1998). Field measurements should represent, as closely as possible, the natural conditions of the system at the time of sampling. To ensure quality of the measurements, calibration within the range of field conditions at each site is required for most instruments.

Field-measurement data must be recorded while in the field, including methods, equipment, and calibration information. Field-measurement data can be stored either electronically or on paper field forms, which may be national forms (fig. 8.1.1), or customized for a particular project. The [identify responsible party] is responsible for reviewing field records for completeness. To avoid the loss of data because of possible instrument malfunction, [identify responsible party] should ensure that backup sensors or instruments are readily available and in good working condition.

To document the quality of field measurements, all District personnel involved in the collection of water-quality data are required to participate in the National Field Quality Assurance (NFQA) Program (Stanley and others, 1992). Results of the NFQA Program are reviewed by the Regional Hydrologist and the District Water-Quality Specialist [or identify other responsible party]. Staff receiving an unsatisfactory rating will [identify the District corrective actions related to the NFQA Program]. [Here, the District should include descriptions of QC checks for field measurements that are recommended or required, such as the use of reference samples as part of a District QA program for field measurements, or checking the precision of field measurements on subsamples by repeating the measurement on some predetermined basis].

8.1.2 Cleaning of Sampling and Processing Equipment

Procedures for cleaning equipment used for water-quality sampling and processing are described in chapter A3 of the National Field Manual (Wilde and others, eds., 1998b). All new equipment acquired for water-quality sampling, as well as equipment that has been in long-term storage, must be cleaned in the office before being used in the field. Similarly, equipment must be cleaned as soon as possible after sample collection and before being used again to avoid cross-contamination between sampling sites. The field rinsing of equipment only with site water just prior to sample collection is not a substitute for proper cleaning.

Equipment blanks are a particular type of blank sample that is used to verify that cleaning procedures used by the field personnel are adequate for removing contamination. These blanks ensure that individual pieces of sampling equipment are not sources of detectable concentrations of constituents to be analyzed in environmental samples. An annual equipment blank, collected in the office laboratory, is required for each set of equipment used to collect water-quality samples (Horowitz and others, 1994; Wilde and others, eds., 1998b, chap. A3). Annual equipment blanks that indicate detectable levels of constituents require submission of blanks for individual components of the equipment to isolate the source of contamination. When the source of contamination has been determined, the necessary maintenance must be performed to eliminate contamination, or the equipment must be replaced. The [identify the responsible party] monitors the results of annual equipment blanks and ensures compliance with District standards.

8.1.3 Surface-Water Sampling

Collecting surface-water samples that accurately represent the physical and chemical characteristics of the aquatic system requires the appropriate use of sampling equipment and methods in order to describe environmental variability and to prevent contamination or bias in the sampling process. All District personnel who are involved in water-quality studies must be well informed of the various factors that must be considered to ensure the collection of representative samples. The choice of sampling equipment and method of sample collection are based on established protocols and guidelines, depending upon the characteristics of the target constituents, study objectives, hydrologic conditions, and sampling logistics.

8.1.3.1 Equipment Selection

Guidelines for selecting equipment for sampling surface water are provided in Horowitz and others (1994) and in chapter A2 of the National Field Manual (Wilde and others, eds., 1998a). [The District may include additional guidelines regarding equipment selection for specific situations, such as sampling in estuaries, as appropriate.] Review of equipment selection by District technical specialists occurs during proposal and workplan review and during periodic project reviews.

8.1.3.2 Sample Collection (Revision 1, June 2002)

Guidelines for the collection of surface-water samples are provided in chapter A4 of the National Field Manual (Wilde and others, eds., 1999a). Field personnel are responsible for examining the sampling site carefully and choosing the most appropriate sampling method to generate the best sample possible under the conditions at the time of sampling. The standard procedure for stream sampling is to collect the sample through the entire depth of the water column at multiple vertical transects by either the equal-discharge or equal-width increment method. These procedures generate a representative cross-sectional sample that is both flow-weighted and depth- and width-integrated (Edwards and Glysson, 1999; Ward and Harr, 1990). Occasionally, the use of non-integrated or non-flow-weighted methods may be appropriate because of hydrologic, climatic, or safety conditions, or specific project objectives. [The District may wish to include additional policy statements pertaining to the use of non-standard sampling methods, such as “...dip samples from the centroid are acceptable when extreme flood or other conditions preclude the collection of the standard sample.”] Thorough documentation of sampling equipment and methods that are used is required in field records associated with water-quality samples. The [identify the responsible party, such as project chief] is responsible for timely review of field records.

Specific procedures employing two-person sampling teams with specific, designated roles in sample collection and handling are required when sampling for trace inorganic constituents with ambient concentrations at or near 1 microgram per liter (g/L), or when aluminum, iron, and manganese ambient concentrations are up to about 200 g/ L, as described by Wilde and others (1999). [The District should provide specific statements of policy regarding the use of ppb techniques for other studies that include inorganic constituents, such as “...the two-person sampling protocol may be modified as appropriate for studies in which low-level trace elements are not measured.”]

[The District should include additional guidelines for sample collection under specific local conditions, such as sampling in estuaries, as appropriate.]

Review of surface-water sampling procedures for each District water-quality project is performed at least annually by [identify the responsible party] and is documented with a memorandum to the appropriate project chief and the District Chief. An independent review of field methods, for at least one District project, is conducted once every 3 years during the Office of Water Quality District technical review.

8.1.4 Ground-Water Sampling

District ground-water sampling procedures are designed to ensure that the samples collected are representative of water in the aquifer and are not contaminated by well construction material or sampling equipment, and that the composition of the samples is not altered by physical or chemical processes during sampling. It is critical that field personnel be aware of all factors that can compromise the integrity of ground-water samples and implement consistent strategies to protect sample integrity.

8.1.4.1 Equipment Selection

Guidelines for selecting appropriate equipment for ground-water sampling are provided in the National Field Manual (Wilde and others, eds., 1998a, chap. A2). All project personnel involved in ground-water sampling for water-quality studies must understand the advantages and disadvantages of available equipment with respect to study objectives. Because of the wide range of factors involved, the ideal equipment for sample collection under some circumstances may not exist. When compromise decisions are required, the field team must thoroughly document with field notes the compromises that are made. Review of equipment selection occurs during proposal and workplan review and during periodic project reviews by District technical specialists.

8.1.4.2 Sample Collection (Revision 1, June 2002)

Guidelines, which prevent or minimize loss of sample integrity, for collecting representative water-quality samples from ground water are provided in chapter A4 of the National Field Manual (Wilde and others, eds., 1999a). The standard procedure for ground-water sampling is to purge the well to remove at least three well volumes of standing water while monitoring field measurements for stabilization. However, exceptions to the three-well-volume rule can be made under some circumstances, depending upon project objectives or site characteristics. The [identify the responsible party, such as project chief] is responsible for timely review of field records.

As a rule, field personnel are required to follow a prescribed order of sample collection, described in the National Field Manual (Wilde and others, eds., 1999a, chap. A4, table 4-5), to help ensure the quality of the data collected. In addition, two-person sampling teams are required to implement coordinated clean-handling techniques when collecting samples for trace elements with ambient concentrations at or near 1 g/L or when aluminum, iron, or manganese ambient concentrations are up to about 200 g/L (Wilde and others, 1999). [If appropriate, the District should provide additional statements of policy regarding the use of ppb techniques for ground-water sampling.]

Review of ground-water sampling procedures for each District water-quality project is performed at least annually by [identify the responsible party] and documented with a memorandum to the appropriate project chief and the District Chief. An independent review of field methods, for at least one District project, is conducted once every 3 years during the Office of Water Quality District technical review.

8.1.5 Precipitation Sampling

Specific procedures in the [State name] District for collecting precipitation samples are based primarily on the study objectives. Major factors that must be considered in sampling for precipitation quality include the location of the sampling station relative to human influences, the choice of sampling equipment, and special sample-handling procedures that may be necessary. Precipitation-quality sampling equipment should be composed of inert, nonabsorbent material that will not affect the typically low concentrations of ions in solution.

Guidelines regarding the collection of precipitation samples are provided in the following references:

Dossett and Bowersox (1999)  for guidance in field and laboratory procedures in the WRD;

- Peden and others (1986) for procedures for collecting precipitation samples recommended by the USEPA; and

- Willoughby (1995) for a case study discussing methods of precipitation sampling and analysis.

The project proposal and workplan should be consulted for specific guidelines regarding the factors that must be considered in choosing the sample location, the sampling equipment and frequency, and the special sample handling procedures that may be necessary based upon the study objectives.

[The District may wish to add specific policies that pertain to precipitation sampling for special District projects, such as regional or background precipitation-quality studies, as appropriate.] For specific questions related to precipitation sampling that are not addressed by these references, contact the [identify the responsible party, such as the appropriate unit chief at the NWQL].

8.1.6 Sample Processing (Revision 1, June 2002)

All samples collected for water-quality analysis must be processed according to procedures in the National Field Manual (Wilde and others, eds., 1999b, chap. A5) as soon as possible following collection. The constituents of interest and study objectives determine the specific processing procedures that are necessary, which must be described in the project workplan.

All District water-quality studies that include the analysis of trace elements in concentrations less than 10 ppb must use the protocols for sample processing as described in Wilde and others (1999-2002). These techniques require the use of processing and preservation chambers to reduce the potential for contamination from the surrounding environment during sample splitting, filtration, and preservation. [The District may choose to add specific policy statements concerning modifications to ppb techniques for sample processing that are acceptable for other District water-quality studies.] Review of sample processing procedures for all water-quality projects occurs during proposal and workplan review and during periodic project reviews by the District Water-Quality Specialist [or identify other responsible party].

8.1.6.1 Sample Compositing and Splitting

Guidelines for using sample compositors and splitters are in the National Field Manual (Wilde and others,  eds., 1998a, chap. A2). Two types of sample splitters presently in use in the WRD are the churn splitter, which also serves as a compositing device, and the cone splitter, which requires a separate compositing vessel. Each splitter has specific advantages and disadvantages, as described in OWQ Technical Memorandum 97.06. Either splitting method can be applied to inorganic and organic constituents within the technical design limits of the device and as long as the equipment is constructed of appropriate materials.

8.1.6.2 Sample Filtration (Revision 1, June 2002)

Filtration is required for many water-quality samples in order to separate particulates from the water and constituents in solution. Selection of the appropriate filter unit and filter characteristics to be used depends on the constituent class of interest and is based on guidance provided in the National Field Manual (Wilde and others, eds.,
1998a, chap. A2). Guidelines for filtration procedures for specific constituent groups are provided in the National Field Manual (Wilde and others, eds., 1999b, chap. A5). For surface water, the most common filtration system consists of a reversible, variable-speed battery-operated peristaltic pump and 0.45-micron pore size disposable capsule filter. For ground water, the sample is generally pumped directly from the well through a 0.45- micron pore size disposable capsule filter. Filtration of samples for analysis of trace elements in concentrations less than 10 ppb must be done in a processing chamber that encloses the filtering unit and sample bottles in a protected environment (Wilde and others, 1999-2002).

8.1.6.3 Sample Preservation

Sample preservation techniques are required for some constituent groups to prevent reduction or loss of target analytes and to stabilize analyte concentrations for a limited time. Guidelines for sample preservation are provided in the National Field Manual (Wilde and others, eds., 1999b, chap. A5), and the NWQL Services Catalog (see section 4.3.1 for location). Since some samples have a very limited holding time even when preserved, field personnel must ensure that all water-quality samples are shipped to the laboratory as quickly as possible and that time-sensitive samples are received in good condition within the appropriate holding time. For details on sample shipping requirements, refer to the next section of this QA plan. [Describe the District’s procedure for ensuring that samples arrive at the laboratory in good condition. For example, some Districts enclose a return postcard so that the lab can report the temperature of the cooler when received. Describe the procedure for ensuring that holding times are met.]

8.2 Other Types of Water-Quality Samples

Many water-quality studies in the WRD are beginning to employ a multidisciplinary approach that relies on data from a range of sampling media. A variety of different types of biological, sediment, and radiochemical samples may be incorporated into a water-quality project in order to provide multiple lines of evidence with which to evaluate a particular aquatic system. This section of the QA plan includes an overview of standard District QA procedures and references for detailed instructions that describe the collection of biological, sediment, and radiochemical samples. [The District should amend and include elements in this section that are relevant to current work being conducted in the District.]

8.2.1 Biological Sampling

District water-quality activities [select include, do not include] the collection of biological samples. [If the District is involved in collecting biological samples, information regarding the collection of these samples should be included in this section, as appropriate, for specific District projects, including NAWQA. Biological samples may include sampling for bacteria, viruses, or protozoa; biological oxygen demand; chlorophyll, algae, including phytoplankton or periphyton; benthic invertebrates; fish; and contaminants in biological tissues. Measurements related to biological condition also may include evaluations of stream habitat. Guidelines for documentation and QA and specific references to personnel who can answer questions regarding various kinds of biological sampling should be included.]

- 8.2.1. Summary of references for collecting and processing biological samples

| Reference | Sample type |
| --- | --- |
| Crawford and Luoma, 1994 | Contaminants in tissues |
| Cuffney and others, 1993 | Benthic invertebrates |
| Meador and others, 1993 | Fish |
| Meador, Hupp, and others, 1993 | Stream habitat |
| Myers and Sylvester, 1997 (TWRI book 9, chap. A7, section 7.1) (an update is in preparation, as is a section on fecal indicator viruses) | Fecal indicator bacteria |
| Delzer and McKenzie, 1999, (TWRI book 9, chap. A7, section 7.2) | Five-day biochemical oxygen demand |
| Porter and others, 1993 | Algae |

8.2.2 Suspended-Sediment and Bottom-Material Samples (Revision 1, June 2002)

District water-quality activities [select include, do not include] the collection of suspended-sediment and bottom-material samples. [If the District is involved in collecting sediment samples, include the following sections of this QA plan that pertain to sediment.]

Guidelines for the collection of sediment samples are described in selected WRD publications and in WRD Office of Surface Water (OSW) memoranda, which are referenced below. Suspended-sediment samples are typically analyzed by the [state name] sediment laboratory for concentration and either sand and silt distribution or complete particle-size distribution. Samples for both suspended sediment and bottom sediment may be analyzed for chemical constituents, including trace elements or hydrophobic organic compounds.

Field personnel must be familiar with the factors involved in the selection of sediment-sampling equipment that are based on the type of analyses to be performed and hydraulic conditions, as well as special cleaning procedures that may be required when sampling sediment chemistry. The project workplan should be consulted for specific guidelines for sediment sampling, depending on project objectives.

Individuals who have questions regarding the collection and handling of sediment samples should contact [identify the responsible party]. For particular questions concerning sediment chemistry samples, contact [identify the responsible party].

- 8.2.2. Summary of references for collecting suspended-sediment samples

| Reference | Subject |
| --- | --- |
| Iowa District sediment laboratory QA plan | Laboratory procedures used in processing and analyzing sediment samples. |
| Edwards and Glysson, 1999 | Field methods for measurement of fluvial sediment. |
| Guy, 1969 (TWRI book 5, chap. C1) | Laboratory theory and methods for sediment analysis. |
| Knott and others, 1992 | Quality-assurance plan for collecting and processing sediment data. |
| OSW Memorandum 93.01 (USGS) | Instrumentation and field methods for collecting suspended-sediment data. |
| Radtke, 1998 (TWRI book 9, chap. A8) | Collecting and processing bottom-sediment samples. |
| Shelton and Capel, 1994 | Collecting and processing streambed-sediment samples. |
| Wilde and others, eds., 1998b (TWRI book 9, chap. A3) | Cleaning equipment for sampling suspended-sediment chemistry. |
| Wilde and others, eds., 1998a (TWRI book 9, chap. A2) | Selection of equipment for sampling suspended-sediment chemistry. |

8.3 Quality-Control Samples

Quality-control samples must be collected as integral components of all District water-quality studies to determine the acceptability of performance in the data-collection process and provide a basis for evaluating the adequacy of procedures that were used to obtain data. Guidelines for the collection of specific types of QC samples and the use of QC data are provided in the National Field Manual (Wilde and others, eds., 1999a, chap. A4). Issues of QC sample design are addressed in section 3.2 of this plan. Specific guidelines for the collection and processing of QC samples must be included in the project workplan. The project chief [or identify other responsible party] is responsible for reviewing QC data in a timely manner and implementing necessary modifications, when appropriate, to sampling and processing techniques. The District Water-Quality Specialist [or identify other responsible party] has the responsibility for advising District personnel regarding the collection and interpretation of QC samples.

8.4 Safety Issues

Because the collection of water-quality data in the field can be hazardous at times, the safety of field personnel is a primary concern. Field teams often work in areas of high traffic, remote locations, and under extreme environmental conditions. Field work involves the transportation and use of equipment and chemicals and commonly requires working with heavy machinery. Additionally, field personnel may come in contact with waterborne and airborne chemicals and pathogens while sampling. Beyond the obvious concerns regarding unsafe conditions for field personnel, such as accidents and personal injuries, the quality of the data also may be compromised when sampling teams are exposed to dangerous conditions.

So that personnel are aware of and follow established procedures and protocols that promote all aspects of safety, the District communicates information and directives related to safety to all personnel. [Describe what actions are taken to communicate this information, such as in-house training classes, memoranda, videotapes, or others as appropriate.] Specific policies and procedures related to safety can be found [state where personnel can find this information, such as in the District safety plan or other material].

An individual has been designated as Safety Officer by [select the District, Region, or other]. The duties of the Safety Officer include [specify the responsibilities of the Safety Officer and the training (s)he provides relative to water-quality activities]. Personnel who have questions or concerns pertaining to safety, or who have suggestions for improving some aspects of safety, should direct those questions, concerns, and(or) suggestions to [identify the appropriate individual, such as the supervisor, Safety Officer, or other].

[The District may choose to include other specific items related to safety issues, as appropriate.] Guidelines pertaining to safety in field activities are provided in the National Field Manual (Lane and Fay, 1998, chap. A9).

8.5 References Used for the Sample Collection and Processing Section

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 8.5. Summary of references used for collecting and processing water-quality samples

| Reference | Subject |
| --- | --- |
| Crawford and Luoma, 1994 | Collecting samples of contaminants in tissue (NAWQA). |
| Cuffney and others, 1993 | Collecting benthic invertebrate samples (NAWQA). |
| Edwards and Glysson, 1999 | Representative sampling techniques for surface water. |
| Guy, 1969 | Laboratory theory and methods for sediment analysis. |
| Horowitz and others, 1994 | Protocol for collecting and processing inorganic constituents at ppb concentrations. |
| Knott and others, 1992 | Quality-assurance plan for collecting and processing sediment data. |
| Koterba and others, 1995 | Collecting and processing ground-water samples (NAWQA). |
| Lane and Fay, 1998 (TWRI book 9, chap. A9) | Safety in field activities. |
| Meador and others, 1993 | Collecting fish samples (NAWQA). |
| Meador, Hupp, and others, 1993 | Characterization of streambed habitat (NAWQA). |
| Myers and Sylvester, 1997 (TWRI book 9, chap. A7, section 7.1) (an update is in preparation, as is a section on fecal indicator viruses) | Measuring fecal indicator bacteria. |
| Delzer and McKenzie, 1999 (TWRI ook 9, chap. A7, section 7.2) | Five-day biochemical oxygen demand test. |
| OSW Memorandum 93.01 (USGS) | Instrumentation and field methods for collecting suspended-sediment data. |
| OWQ Memorandum 81.07 (USGS) | Field and laboratory procedures for precipitation samples. |
| OWQ Memorandum 97.06 (USGS) | Comparison of splitting capabilities of the churn and cone splitters. |
| Peden and others, 1986 | Procedures for collecting precipitation samples, recommended by USEPA. |
| Porter and others, 1993 | Collecting algal samples (NAWQA). |
| Radtke, 1998 (TWRI book 9, chap. A8) | Collecting and processing bottom-sediment samples. |
| Shelton, 1994 | Collecting and processing stream-water samples (NAWQA). |
| Shelton and Capel, 1994 | Collecting and processing streambed-sediment samples (NAWQA). |
| Stanley and others, 1992 | National field quality-assurance program. |
| Ward and Harr, 1990 | Representative sampling techniques for surface water. |
| Wilde and Radtke, eds., 1998 (TWRI book 9, chap. A6) | Well-purging procedures. |
| Wilde and others, eds., 1998b (TWRI book 9, chap. A3) | Cleaning equipment used to collect and process water-quality sam ples. |
| Wilde and others, eds., 1999a (TWRI book 9, chap. A4) | Collecting water-quality samples from surface and ground water. |
| Wilde and others, eds., 1999b (TWRI book 9, chap. A5) | Processing water-quality samples. |
| Wilde and others, eds., 1998a (TWRI book 9, chap. A2) | Selection of equipment used to collect and process water-quality sam ples. |
| Willoughby, 1995 | Case study discussing methods of precipitation sampling and analysis. |

9.0 Water-Quality Sample Handling and Tracking

All water-quality samples must be uniquely identified, documented, handled, shipped, and tracked appropriately. Following proper protocols for sample handling, shipping, and tracking ensures that samples are processed correctly and expeditiously to preserve sample integrity between the time of collection and the time of analysis. This section describes the procedures used by the [State name] District for handling, shipping, and tracking samples from collection through transfer of the samples to an analytical facility. Receipt of analytical data from laboratories is covered in Section 10.0 (Water-Quality Data Management).

9.1 Preparation for Sampling

Ensuring that field personnel have the correct equipment and supplies on hand to perform the necessary sampling activities saves time and labor costs associated with repeated sampling trips that result from inadequate planning. Therefore, before commencing field activities, the [identify the responsible party] is responsible for ensuring that the following preparations have been completed:

[Fill in steps that are required to be completed before each sampling field trip. These steps may include the following:

Review the sampling instructions for each site and the list of sample types required.

- Ensure that the station site file is current.

- Prepare bottle labels for samples.

- Obtain field sheets or notebooks and analytical services request forms (ASR’s).

- Ensure that necessary supplies are available, such as bottles, standards, filters, preservatives, meter batteries, waterproof markers, shipping containers, etc. (see section 5.1.3 (Equipment and Supplies).

- Ensure that all sampling equipment is thoroughly cleaned and prepared.

- Check meters and sensors for proper performance.]

9.2 Onsite Sample Handling and Documentation (Revision 1, June 2002)

During a sampling trip, it is imperative that accurate notes be taken and that sample bottles be labeled and handled appropriately for the intended analysis. Otherwise, bottle mix-ups or other errors may occur, and the samples may be wasted. The [identify the responsible party] is responsible for ensuring that all of the following sampling requirements are implemented:

[Fill in the steps required to ensure that samples are labeled and handled according to USGS and District procedures. For instance, list the information that is required on a sample label. It may be useful to include a District QW sample instruction sheet as an example of what documentation is required for each field site. Reference Wilde and others, eds. (1999-2002), chap. A5, sec. 5.5 for guidance.]

9.3 Sample Shipment and Documentation (Revision 1, June 2002)

Upon completion of a sampling trip, samples should be packaged and shipped to the laboratory for analysis as soon as possible. Generally, the shorter the time between sample collection and processing and sample analysis, the more reliable the analytical results will be. Before shipping samples to the laboratory, the [identify the responsible party] should complete the following:

- Check that sample sets are complete and that sample bottles are labeled correctly, with all required information (see Section 9.2).

- Complete the ASR’s for all samples being sent to the NWQL. If samples are being sent to a different, approved laboratory, information similar to that required on the ASR’s should be provided to the laboratory.

- Pack samples carefully in shipping containers to avoid bottle breakage, shipping container leakage, and sample degradation. Check that bottle caps are securely sealed. Follow the packing and shipping protocols established by the USGS and the receiving laboratory (reference NWQL Technical Memorandum 95.04 and the National

Field Manual for additional information; USGS employees can also access NWQL Rapi-Notes 01-013, 01-023, 01-033, and 01-034).

- Ship samples after sample collection and the same day whenever possible.

[Expand this section as needed to tailor it to the District’s procedures. Chapter A5 of the National Field Manual (Wilde and others, 1999-2002) has tables that summarize sample processing requirements and list NWQL designation codes for commonly measured organic and inorganic constituents. It may be useful to include these tables in this section as a reference guide for field personnel.]

9.4 Sample Tracking Procedures

The [District or projects] maintain(s) a record of all samples collected and shipped to a laboratory for analysis to ensure the complete and timely receipt of analytical results. [Identify the responsible party] has responsibility for recording the required information. [Identify the responsible party] has responsibility for reviewing the tracking log to determine if analyses are missing and for taking corrective action(s) if necessary. [Describe the District sample tracking system.]

9.5 Chain-of-Custody Procedures for Samples

When chain-of-custody procedures are appropriate or required (for example, when data may be used in legal proceedings), the [identify the responsible party] should establish, maintain, and document a chain-of-custody system for field samples that is commensurate with the intended use of the data. A sample is in custody if it is in actual physical possession or in a secured area that is restricted to authorized personnel. Every exchange of a sample between people or places that involves a transfer of custody should be recorded on appropriate forms that document the release and acceptance of the sample. Each person involved in the release or acceptance of a sample should keep a copy of the transfer paperwork. The project chief, or designee, is responsible for ensuring that custody transfers of samples are performed and documented according to the requirements listed below.

[This section should be used to clarify the District’s chain-of-custody procedures for samples. Following are some things to consider:

The means for identifying custody should be clearly understood (use of forms, stickers, etc.);

- Instructions for documenting the transfer of samples and the person responsible for this documentation must be clearly defined; and

- A plan must be in place for maintaining records in a specific location for a specific period of time (for example, in the site folder).

Since laboratories should have their own internal chain-of-custody requirements, it is probably not necessary to include information on their procedures. However, individual projects may need laboratory chain-of-custody documentation, but this can be documented in a project workplan.]

9.6 References Used for the Sample Handling and Tracking Section (Revision 1, June 2002)

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 9.6. Summary of references for handling and tracking water-quality samples

| Reference | Subject |
| --- | --- |
| NWQL Memorandum 95.04 | Shipping samples to the NWQL, and instructions for filling out Analytical Services Request (ASR) forms. |
| NWQL Rapi-Note 01-013, 01-023, 01-033, 01-034 | USGS employees can access Rapi-Notes through the NWQL in-house Web site. |
| Wilde and others, eds., 1999-2002 (TWRI book 9, chap. A5) | Processing water samples. |

10.0 Water-Quality Data Management (Revision 1, June 2002)

Water-quality data that are collected for hydrologic investigations are recorded on paper and electronically. Data that are recorded on paper include chemical, physical, biological, and ancillary data measured in the field. This information is documented on standard USGS field forms (fig. 8.1.1) and stored in site files. Data that are recorded electronically include analytical results and continuous monitoring data transmitted over the computer network or stored by electronic data logger. Data that are recorded on paper and electronically typically are stored either in the NWIS QWDATA data base (Maddy and others, 1997, and Hoopes, B.C., written commun.) or in NWIS-ADAPS data base (Bartholoma, 1997). The NWIS is the storage medium for water-quality, streamflow, well, and water-use information collected by the USGS. Data that cannot be stored in these national data bases may be stored in other data bases, such as project data bases.

10.1 Processing Data

Sampling information, field determinations, and ancillary information are recorded on a set of water-quality field notes that are considered original record. These data are combined with analytical data from the laboratory in computer data files and paper files.

10.1.1 Continuous Monitoring Data (Revision 1, June 2002)

Continuous monitoring data are water-quality records collected onsite by electronic sensors and data loggers. Two methods for electronically recording data are by (1) transmitting data from a remote location by land line or radio telemetry to a central location where they are recorded on [list appropriate medium, such as magnetic tape, disk, or solid-state memory device], and (2) recording data at a remote location on [list appropriate medium, such as magnetic tape, disk, or solid-state memory device]. Initial data processing in the office is for the purpose of obtaining a copy of the original data for archiving (see Section 10.4). Data are not manipulated by the field instrument or a computer except to convert recorded signals into data in commonly used units or to display data in a convenient format. The transfer of data from the electronic storage medium to NWIS requires thorough checking to ensure that the data have transferred successfully or that as much data as possible have been recovered and errors identified (WRD Memorandum 87.085). [Describe the District procedure for entering QW data from the storage medium to NWIS.] Continuous water-quality data are processed as described in Wagner and others (2000).

[Discuss the District policies for downloading QW data from the recording device, entering data to the permanent storage medium (NWIS, or other), and checking the record for completeness and accuracy. Guidelines and criteria for making adjustments to the record also should be described in this section. WRD policy pertaining to electronically recorded data is contained in WRD Memorandum 87.085 and is described below.]

10.1.2 Analytical Data (Revision 1, June 2002)

Analytical data are results of field and laboratory chemical, physical, or biological determinations. Most water-quality samples are analyzed either in the field or at the NWQL [include Ocala Water-Quality and Research Lab (OWQRL), if appropriate]. In some cases, samples may be analyzed by research laboratories or by laboratories outside of the USGS (see Section 4.1).

In order to enter analytical data into the NWIS data base, a site identification number must first be assigned and entered into the District site file (see Section 7.2). Field measurements are entered into the NWIS data base by [identify the responsible party] as soon as possible after returning from the sampling field trip. A record number is assigned by the system and is recorded in a log book (fig. 10.1.2). [Briefly describe how record numbers are recorded; for example, they may be entered on field forms or recorded in a log book or a tracking system.] (see Section 9.4 for sample tracking.) Sample logging is required for data from the NWQL or OWQRL to successfully transfer the data into the data base. Environmental sample data are entered into the District NWIS QWDATA [enter data base number]; QA data are entered into the District NWIS QWDATA [enter data base number].

| Station number | Date/ time | Schedules requested | NWIS record number | Lab ID number |  | Station number | Date/ time | Sched ules requested | NWIS record number | Lab ID number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0208500 | Sept. 21, 1993/ | 1043 | 993000025 |  |  |  |  |  |  |  |
| " | " | 542 | " |  |  |  |  |  |  |  |
| 0209754 | Oct. 4, 1993/ |  |  |  |  |  |  |  |  |  |

- 10.1.2. Example page from a District sample-collection log book.

All data from the NWQL [include OWQRL, if appropriate] are electronically transferred to the appropriate District data base by [identify the responsible party; for example, the District Data Base Administrator] at least once per week. Hard copies of the analytical reports (WATLIST’s) are forwarded to [identify the responsible party] for storage in project files [or name appropriate location]. The NWIS QWDATA data base receives daily incremental backup and weekly full backup.

Data analyzed by laboratories other than the NWQL or OWQRL must be entered into NWIS, if possible (Hubbard, 1992), and identified according to the analyzing laboratory. Data entry is the responsibility of [identify the responsible party]. Data are entered and stored according to procedures already described for processing NWIS analytical data. Appropriate codes are used to identify the data as originating from non- USGS sources.

10.1.3 Non-National Water Information System Data Bases

Sometimes data collected by project personnel cannot be entered into the District NWIS QWDATA data base because the data are proprietary (such as data collected for some military projects) or because NWIS cannot accept the type of data that are generated by the project (for example, taxonomic data). In these cases, project data bases may be established to accommodate the data storage requirements and formats. Project data bases that are the sole repository for project data should have a written procedure for data entry, storage, and long-term backup and archival. [Identify the responsible party] has the responsibility for developing and implementing management of project data bases.

10.2 Validation (Records Review)

Data validation is the process whereby water-quality and associated data are checked for completeness and accuracy. After validation, data records are finalized in the District data base.

10.2.1 Continuous Monitoring Data

Following the entry of continuous monitoring data into NWIS, raw data and(or) graphs of raw data are reviewed by [identify the responsible party] for anomalous values, dates, and times, and preliminary updating is done. [Continue to describe any further validation steps that are a part of the District’s standard procedures]. Once the data are edited, the record is submitted to [identify the responsible party] for final review and approval.

10.2.2 Analytical Data (Revision 1, June 2002)

All field notes and field measurements are reviewed for completeness and accuracy [enter the time limit; for example, within 7 days or as soon as possible] after returning from the field trip by [identify the responsible party]. All chemical analyses are reviewed for completeness, and questionable values are noted. Prompt review is necessary to allow analytical re-analysis to be performed before sample holding times have been exceeded for accuracy and precision. [Describe the District review procedure; for example, within 7 days, or when all analytical results have been returned.] Every data analysis entered into NWIS QWDATA results in output (WATLIST) that includes a copy of the analysis and a report of general validation checks (Maddy and others, 1997, and Hoopes, B.C., written commun.), including but not limited to the following:

- Comparison of determined and calculated values for dissolved solids,

- Comparison of dissolved constituents and total constituents,

- Comparison of specific conductance with dissolved solids,

- Comparison of constituents with relevant Federal drinking-water standards, and

- Comparison of sum of cations with sum of anions (ion balance).

Field and laboratory analyses, such as pH, specific conductance, and alkalinity, are compared to confirm agreement of independent measurements. If data from more than one sample are available for a site, the analysis also is compared with previous analyses within a hydrologic context to identify obvious errors, such as decimal errors, and possible sample mix-ups or anomalies warranting analytical re-analysis. These reports and comparisons are reviewed and noted on the analytical report (WATLIST). If necessary, corrections or re-analysis may be requested by [identify the responsible party].

Requests to the NWQL for re-analysis are made by USGS employees through the NWQL inhouse Web page (http://wwwnwql.er.usgs.gov/USGS/ district_rerun_request.html) [enter procedures for other laboratories used by the District; for example, rerun requests to OWQRL are made by email to OCALAMAN] and in writing to other laboratories as stipulated in the laboratory contract. Re-analysis requests are logged and tracked by [describe the District procedure(s) for logging and tracking re-analysis requests] (fig. 10.2.2.). Corrections to NWIS resulting from reruns by the NWQL must be made to the laboratory data base as well as to the District data base and are made by [identify the responsible party] by email request to LABHELP.

| Date requested | Lab ID number | Station number | Date | Time | Parameter number | Parameter name | Old value | New value | Update No update/ Delete |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

10.2.2. Example of re-analysis request form.

Project QA data, such as blanks, replicates, blind standards, and matrix spikes, periodically are tabulated or graphed by [identify the responsible party] to facilitate identification of inaccuracies or systematic bias that may not be discernible when reviewing an individual analysis. [Describe corrective actions; for example, deleting questionable values or values in error from the data base upon approval by the responsible party.] All personnel responsible for sample collection and field analysis participate in the NFQA Program and process an equipment blank once per year. District QA data, including NFQA sample results and annual equipment blanks, are reviewed by [identify the responsible party]. [Describe corrective actions.]

10.3 Data Storage (Revision 1, June 2002)

In accordance with WRD policy, all water data collected as part of routine data collection by the WRD are stored in the NWIS computer data base. Data collected by others, such as cooperators, universities, or consultants, which are used to support published USGS documents and are not published or archived elsewhere, also should be entered into NWIS; however, these data must be flagged with the appropriate Data Quality Indicator (DQI) code, and identified according to analytical laboratory and collection organization. Other outside data may be entered into the data base at the discretion of the [identify the responsible party] if data-collection methods and quality have been reviewed and found acceptable. Electronically stored data that cannot be entered into NWIS are stored in project data bases online or offline. The [identify the responsible party] has responsibility for maintaining backups of data stored electronically in NWIS or online. Data stored electronically offline are maintained by [identify the responsible party].

In addition to electronically stored data, other project data and information, including field notes, ASR’s, WATLIST’s, and [list other items] are retained in station folders and maintained by [identify the responsible party] in [name the location; for example, project office] while the project is active.

[Enter the District standard procedures for short-term storage of data and other project information. Relatively new data, which are being compiled, modified, reviewed, and frequently used, require high levels of accessibility. As these data become older, lower levels of accessibility are typically needed. Data in the data base generally should move from areas of higher accessibility and lower security to areas of lower accessibility and higher security as the need for access diminishes and the data become finalized. As this occurs, data may be moved from online to near online or offline, as appropriate.]

10.4 Records Archival

According to WRD policy, all original data that are published or support published scientific analyses shall be placed in archives (WRD Memorandum 92.059; Hubbard, 1992). Original data—from automated data-collection sites, laboratories, outside sources, and non-automated field observations—are unmodified data as collected or received and in conventional units (engineering units, generally with a decimal). Original data should be preserved in this form, no matter how they may be modified later (Hubbard, 1992). Original data on paper include field notes, field measurements, ASR’s, WATLIST’s, continuous water-quality monitoring records, and calibration notes. These data are archived when [insert the criteria for archiving data; for example, the project is completed or terminated, or if data are more than 7 years old]. It is the responsibility of [identify the responsible party] to ensure that project files entered into the District archive are organized and complete. The District archive is located [state the location] and is maintained by [identify the responsible party]. Data from the District archives may be transferred to [name the national archive] as needed [or insert the criteria for transfer to permanent archives].

10.5 References Used for the Water-Quality Data Management Section (Revision 1, June 2002)

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 10.5. Summary of references for managing water-quality data and records

| Reference | Subject |
| --- | --- |
| Bartholoma, S.D., 1997 | NWIS ADAPS user’s guide, Open-File Report 97-635. |
| Hubbard, 1992 | Policy recommendations for managing and storing hydrologic data. |
| Maddy and others, 1997 (an update by Hoopes, B.C., ed., is scheduled to be available by the end of 2002) | NWIS QWDATA user’s guide. |
| WRD Memorandum 87.085 (USGS) | Policy for collecting and archiving electronically recorded data. |
| WRD Memorandum 92.059 (USGS) | Policy for the management and retention of hydrologic data. |
| Wagner and others, 2000 | Guidelines and standard procedures for continuous water-quality monitors |

11.0 Publication of Water-Quality Data

Water-quality data are published in hydrologic data reports or interpretive reports. The selection of the appropriate publication outlet for water-quality data will be the responsibility of [identify the responsible party and describe the approval process for the report outlet choice]. A summary of USGS and WRD policies pertaining to the publication of data and interpretive reports is contained in the WRD Publications Guides (Alt and Iseri, 1986, p. 382-385; U.S. Geological Survey, 1995). Other references that should be consulted when writing reports include "Suggestions to Authors ..." (Hansen, 1991) and the U.S. Government Printing Office Style Manual (U.S. Government Printing Office, 2000).

[Report approval was delegated in 1995 from the Director to the Regional Hydrologists (WRD Memorandum 95.18). In addition, some Districts have authority to approve some reports for publication at the District level (WRD Memorandum 92.005 and 97.002), and some Regions have delegated approval authority to teams through the team review approach. Add a paragraph to Sections 11.1 and 11.2 to describe the report review process in your District.]

11.1 Hydrologic Data Reports

All non-proprietary water-quality data collected during the water year are published in the WRD annual data report, “Water Resources Data, [State name], Water Year ___,” or in individual project data reports. Hydrologic data reports make water-quality data available to users, but without interpretations or conclusions. Approval of hydrologic data reports is in accordance with applicable WRD, Region, and District policy (Alt and Iseri, 1986; [cite relevant Region and District memos]).

11.2 Interpretive Reports

Interpretive reports include such USGS outlets as Circulars, Professional Papers, Fact Sheets, Water-Resources Investigations Reports, and Open-File Reports, as well as non-USGS outlets, such as scientific journals, books, and proceedings of technical conferences. The District Water-Quality Specialist, project supervisor, and outside technical specialists will provide guidance in ensuring that each water-quality report meets the highest technical standards. Approval of interpretive reports is in accordance with applicable WRD, Region, and District policy (WRD Memorandum 95.18) and is more technically rigorous than the required approval for non-interpretive data reports.

11.3 Other Data Outlets (Revision 1, June 2002)

Article 500.14.1 of the Department of the Interior Geological Survey Manual (U.S. Department of the Interior, 1992) states that data and information are released through publications; however publication is not limited to paper media (WRD Memorandum 90.030; U.S. Department of the Interior, 1993). Electronic outlets include the internet (NWISWeb at http://waterdata.usgs.gov/nwis/) and computer storage media, such as CDROM.

The term “data” refers to uninterpreted observations or measurements, usually quantitative measurements resulting from field observations and laboratory analyses of water, sediment, or biota. Data can be released to the public after preliminary review for accuracy by appropriate WRD personnel (WRD Memorandum 90.030). Constituents in water samples collected by or for the USGS that exceed USEPA drinking water maximum contaminant levels (MCL’s), as specified in the National Primary Drinking Water Regulations, are promptly reported by [identify the responsible party] to appropriate agencies that have a need to know (WRD Memorandum 90.038).

The term “information” refers to interpretations of data or conclusions of investigations. Interpretive results or conclusions require colleague review and Director’s approval for publication. Release of preliminary interpretations prior to final approval is prohibited to avoid disseminating incomplete and(or) incorrect conclusions, which are subject to change as a result of subsequent technical and policy reviews.

11.4 References Used for the Publication Section (Revision 1, June 2002)

The following table lists reports and(or) memoranda referred to in this section. For a complete citation, refer to Section 13.0 of the report.

- 11.4. Summary of references for publishing data

| Reference | Subject |
| --- | --- |
| Alt and Iseri, 1986 | Guide for publishing WRD reports. |
| Hansen, 1991 | Suggestions to authors of USGS reports. |
| U.S. Department of the Interior, 1992 | Safeguard and release of USGS information. |
| U.S. Department of the Interior, 1993 | Policy for release of computer data bases and computer programs. |
| U.S. Geological Survey, 1995 | Guidelines on writing hydrologic reports. |
| U.S. Government Printing Office, 2000 | Style manual for printed government documents. |
| WRD Memorandum 90.030 (USGS) | Policy for release of digital data. |
| WRD Memorandum 90.038 (USGS) | Policy for reporting maximum contaminant level exceedances. |
| WRD Memorandum 92.005 (USGS) | Extended delegation of authority to approve reports of certain categories for open file release. |
| WRD Memorandum 95.18 (USGS) | Redelegation of Director’s report approval authority to Regional Hydrologists. |
| WRD Memorandum 97.002 (USGS) | Modification to the reports processing system |
| http://waterdata.usgs.gov/nwis/ | NWISWeb |

12.0 Water-Quality Training and Reviews

Periodic reviews of data-collection procedures are used to evaluate the effectiveness of training programs and to determine if technical work is being conducted correctly and efficiently. Such reviews also are used to identify and resolve problems before they become widespread and potentially compromise the quality of the data.

12.1 Training (Revision 1, June 2002)

Employee training is an integral part of water-quality activities allowing current employees to maintain and enhance their technical knowledge and new employees to gain the specific skills needed to adequately perform their job. A well-documented training program not only ensures that samples are collected correctly by technically competent personnel, but also lends legal credibility to data and interpretations. Training is accomplished according to the following policies and protocols.

Individual training plans are developed by the supervisor and employee at least annually as part of the performance review process. The District Training Officer is responsible for informing District staff about the availability of training—in-house, USGS, U.S. Government, and other sources of training. The Water-Quality Specialist provides recommendations and advice to supervisors and their staff as needed. The [identify the responsible party] has authority and responsibility for approving training opportunities. In addition, staff are responsible for taking full advantage of the training provided.

Primary sources of water-quality training are USGS courses, usually taught at the National Training Center at the Denver Federal Center; [identify the Region] regional training; Cyberseminars, and District seminars or in-house training courses. The Water- Quality Specialist plays an important role in providing in-District and in-house training. Training documents are maintained by the [identify the responsible party, such as Training Officer or Administrative Officer] in District personnel files and by the Personnel Office in [identify the Region] Region.

[It may be useful to make a table that lists the types of water-quality positions and the minimum required training for each position.]

12.2 Reviews (Revision 1, June 2002)

Reviews of water-quality data-collection activities are conducted annually [or other frequency, if different] for each individual in the District who is actively involved in water-quality data collection. Reviews are conducted in the field or laboratory by [identify the responsible party].

Reviews are completed in a timely manner, and comments are documented by the reviewer in a memorandum or [name other document] to the immediate supervisor with a copy to [list recipients]. Reviews address sample collection and processing techniques, compliance with WRD, OWQ, and District policies, the condition of the work environment (for example, the field vehicle), and any other activities pertaining to the collection of high-quality data. When deficiencies are noted, the reviewer, in consultation with the Water-Quality Specialist, is responsible for identifying corrective actions. The immediate supervisor is responsible for ensuring that, once identified, corrective actions are implemented and completed in a timely manner.

13.0 References (Revision 1, June 2002)

Alt, D.F., and Iseri, K.T., eds., 1986, WRD publications guide, v. 1. Publications policy and text preparation: U.S. Geological Survey, 429 p.

Arvin, D.V., 1995, A workbook for preparing surface-water quality-assurance plans for Districts of the U.S. Geological Survey, Water Resources Division: U.S. Geological Survey Open-File Report 94-382, 40 p.

Bartholoma, S.D., comp., 1997, National Water Information System user’s manual, chap. 3, automated data processing system: U.S. Geological Survey Open-File Report 97-635, 219 p.

Brunett, J.O., Barber, N.L., Burns, A.W., Fogelman, R.P., Gillies, D.C., Lidwin, R.A., and Mack, T.J., 1997, A quality-assurance plan for District ground-water activities of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 97-11, 21 p.

Crawford, J.K., and Luoma, S.N., 1994, Guidelines for studies of contaminants in biological tissues for the National Water-Quality Assessment Program: U.S. Geological Survey Open-File Report 92-494, 69 p.

Cuffney, T.F., Gurtz, M.E., and Meador, M.R., 1993, Methods for collecting benthic invertebrate samples as part of the National Water-Quality Assessment Program: U.S. Geological Survey Open-File Report 93-406, 66 p.

Delzer, G.C., and McKenzie, S.W., 1999, Five-day biochemical oxygen demand, in National Field Manual for the Collection of Water-Quality Data--Biological Indicators: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9 chap. A7, sec. 7.2, 30 p.

Dossett, S.R., and Bowersox, V.C., 1999, National trends network site operation manual: Champaign, Ill., National Atmospheric Deposition Program Office at the Illinois State Water Survey, NADP Manual 1999-01, variously paged.

Edwards, T.K., and Glysson, G.D., 1999, Field methods for measurement of fluvial sediment: U.S. Geological Survey Techniques of Water-Resources Investigations, book 3, chap. C2, 89 p.

Francy, D.S., Jones, A.L., Myers, D.N., Rowe, G.L., Eberle, C.M., and Sarver, K.M., 1998, Quality-assurance/quality-control manual for collection and analysis of water- quality data in the Ohio District, U.S. Geological Survey:   U.S. Geological Survey Water-Resources Investigations Report 98-4057.

Guy, H.P., 1969, Laboratory theory and methods for sediment analysis: U.S. Geological Survey Techniques of Water-Resources Investigations, book 5, chap. C1, 58 p.

Hansen W.R., ed., 1991, Suggestions to authors of the reports of the United States Geological Survey (7th ed.): Washington, D.C., U.S. Government Printing Office, 289 p.

Horowitz, A.J., Demas, C.R., Fitzgerald, K.K., Miller, T.L, and Rickert, D.A., 1994, U.S. Geological Survey protocol for the collection and processing of surface-water samples for the subsequent determination of inorganic constituents in filtered water: U.S. Geological Survey Open-File Report 94-539, 57 p.

Hubbard, E.F., 1992, Policy recommendations for management and retention of hydrologic data of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-56, 32 p.

Knott, J.M., Glysson, G.D., Malo, B.A., and Schroder, L.J., 1993, Quality-assurance plan for the collection and processing of sediment data by the U.S. Geological Survey, Water Resources Division: U.S. Geological Survey Open-File Report 92-499, 18 p.

Koterba, M.T., Wilde, F.D., and Lapham, W.W,. 1995, Ground-water data-collection protocols and procedures for the National Water-Quality Assessment Program: Collection and documentation of water-quality samples and related data: U.S. Geological Survey Open-File Report 95-399, 113 p.

Lane, S.L., and Fay, R.G., 1998, Safety in field activities, in National field manual for the collection of water-quality data: U.S. Geological Survey Techniques of Water- Resources Investigations, book 9, chap. A9, 71 p.

Maddy, D.V., Lopp, L.E., Jackson, D.L., Coupe, R.H., Schertz, T.L., and Garcia, K.T., 1997, National Water Information System users’s manual, v. 2, chap. 2, water-quality system: U.S. Geological Survey, version 1.2, Sept. 11, 1997 [variously paged]. [An open-file update to this report (by Hoopes, B.C., ed.,) is scheduled to be available by the end of 2002.]

Meador, M.R., Cuffney, T.F., and Gurtz, M.E., 1993, Methods for sampling fish communities as part of the National Water-Quality Assessment Program: U.S. Geological Survey Open-File Report 93-104, 40 p.

Meador, M.R., Hupp, C.R., Cuffney, T.F., and Gurtz, M.E., 1993, Methods for characterizing stream habitat as part of the National Water-Quality Assessment Program: U.S. Geological Survey Open-File Report 93-408, 48 p.

Mueller, D.K., Martin, J.D., and Lopes, T.J., 1997, Quality-control design for surface- water sampling in the National Water-Quality Assessment Program: U.S. Geological Survey Open-File Report 97-223, 17 p.

Myers, D.N., and Sylvester, M.A., 1997, Fecal indicator bacteria, in National field manual for the collection of water-quality data--biological indicators: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A7, section 7.1, 49 p. [An update to Fecal Indicator Bacteria is in preparation, as is a section on Fecal Indicator Viruses.]

Peden, M.E., and others, 1986, Development of standard methods for the collection and analysis of precipitation: Cincinnati, Ohio, U.S. Environmental Protection Agency [variously paged].

Porter, S.D., Cuffney, T.F., Gurtz, M.E., and Meador, M.R., 1993, Methods for collecting algal samples as part of the National Water-Quality Assessment Program: U.S. Geological Survey Open-File Report 93-409, 39 p.

Pritt, J.W., and Raese, J.W., eds., 1995, Quality assurance/quality control manual — National Water-Quality Laboratory: U.S. Geological Survey Open-File Report 95- 443, 35 p.

Radtke, D.B., 1998, Bottom-material samples, in National field manual for the collection of water-quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A8, 59 p.

Schroder, L.J., and Shampine, W.J., 1992, Guidelines for preparing a quality-assurance plan for the District offices of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-136, 14 p.

- 1995, Guidelines for preparing a quality-assurance plan for the District water- quality activities of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 95-108, 12 p.

Shampine, W.J., Pope, L.M., and Koterba, M.T., 1992, Integrating quality assurance in project work plans of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-162, 12 p.

Shelton, L.R., and Capel, P.D., 1994, Guidelines for collecting and processing samples of streambed sediment for analysis of trace elements and organic contaminants for the National Water-Quality Assessment Program: U.S. Geological Survey Open-File Report 94-458, 20 p.

Stanley, D.L., Shampine, W.J., and Schroder, L.J., 1992, Summary of the U.S. Geological Survey National Field Quality-Assurance Program from 1979 through 1989: U.S. Geological Survey Open-File Report 92-163, 14 p.

U.S. Department of the Interior, 1992, Safeguard and release of U.S. Geological Survey data and information, in U.S. Geological Survey manual 500.14.1: U.S. Department of the Interior, Geological Survey, May 15, 1992, 3 p.

______1993, Policy for release of computer data bases and computer programs, in U.S. Geological Survey manual 500.24.1: U.S. Department of the Interior, Geological Survey, April 9, 1993, 4 p.

U.S. Geological Survey, 1995, Guidelines for writing hydrologic reports: U.S. Geological Survey Fact Sheet FS-217-95, 4 p.

U.S. Geological Survey, 1997-present, National field manual for the collection of water- quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chaps. A1-A9, 2 v. variously paged. [Chapters were published from 1997- 1999; updates and revisiona are ongoing and can be viewed at: http://water.usgs.gov/ owq/FieldManual/mastererrata.html]

U.S. Government Printing Office, 2000, Style manual: Washington, D.C., U.S. Government Printing Office, 479 p.

Wagner, R.J., Mattraw, H.C., Ritz, G.F., and Smith, B.A., 2000, Guidelines and standard procedures for cotinuous water-quality monitors--site selection, field operation, calibration, record computation, and reporting: U.S. Geological Survey Water- Resources Investigations Report 00-4252, 53 p.

Wilde, F.D., and Radtke, D.B., eds., 1998 (to present), Field measurements, in National field manual for the collection of water-quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A6, [variously paged].

Wilde, F.D., Radtke, D.B., Gibs, Jacob, and Iwatsubo, R.T., 1998, Preparations for water sampling, in National field manual for the collection of water-quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A1, [variously paged].

Wilde, F.D., Radtke, D.B., Gibs, Jacob, and Iwatsubo, R.T., eds., 1998a, Selection of equipment for water sampling, in National field manual for the collection of water- quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A2, 94 p. [Updates in preparation, July 2002]

Wilde, F.D., Radtke, D.B., Gibs, Jacob, and Iwatsubo, R.T., eds., 1998b, Cleaning of equipment for water sampling, in National field manual for the collection of water- quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A3, 75 p.

Wide, F.D., Radtke, D.B., Gibs, Jacob, and Iwatsubo, R.T., eds. 1999a, Collection of water samples, in National field manual for the collection of water-quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A4, [variously paged].

Wilde, F.D., Radtke, D.B., Gibs, Jacob, and Iwatsubo, R.T., eds., 1999-2002, Processing of water samples, in National field manual for the collection of water-quality data: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A5, [variously paged].

Willoughby, T.C., 1995, Quality of wet deposition in the Grand Calumet River watershed, northwestern Indiana, June 30, 1992–August 31, 1993: U.S. Geological Survey Water-Resources Investigations Report 95-4172, 55 p.

13.1 USGS Memoranda (Revision 1, June 2002)

The following USGS memoranda are available electronically on the Internet at the following site address (URL) http://water.usgs.gov/admin/memo/ (or for USGS employees, http://wwwoper.er.usgs.gov/memos/wrd/auto.html).

Branch of Operations Technical Memorandum 91.01, February 5, 1991, Safety—Chemical-hygiene plan.

National Water Quality Laboratory Memorandum 92.01, March 25, 1992, Availability of equipment blank water for inorganic and organic analysis.

National Water Quality Laboratory Memorandum 95.04, December 2, 1994, Shipping samples to the National Water-Quality Laboratory.

Office of Surface Water Technical Memorandum 93.01, October 8, 1992, Summary of documentation that describes instrumentation and field methods for collecting sediment data.

Office of Water Quality Technical Memorandum 92.01, December 20, 1991, Distilled/ deionized water for District operations.

Office of Water Quality Technical Memorandum 92.06, March 20, 1992, Report of committee on sample shipping integrity and cost.

Office of Water Quality Technical Memorandum 97.06, May 5, 1997 (corrected May 14, 1997), Comparison of the suspended-sediment splitting capabilities of the churn and cone splitters.

Office of Water Quality Technical Memorandum 98.03, Policy for the evaluation and approval of production analytical laboratories.

Office of Water Quality Technical Memorandum 98.05, September 14, 1998, Policy for the approval of U.S. Geological Survey (USGS) water-quality analytical methods.

Office of Water Quality Technical Memorandum 02.14, April 18, 2002, Availability of universal blank water for inorganic and organic analyses.

Water Resources Division Memorandum 87.085, September 18, 1987, Programs and Plans—Policy for the collection and archiving of electronically recorded data.

Water Resources Division Memorandum 90.030 (revised), March 5, 1990, Programs and Plans—Policy for release of digital data.

Water Resources Division Memorandum 92.005, December 16, 1991, Publications-- Extented delegation of authority to approve reports of certain categories for release to the open file.

Water Resources Division Memorandum 92.035, April 16, 1992, Policy of the Water Resources Division on the use of laboratories.

Water Resources Division Memorandum 92.036, April 16, 1992, Policy of the Water Resources Division on the use of  laboratories by national water-quality programs.

Water Resources Division Memorandum 92.059, October 20, 1992, Policy for management and retention of hydrologic data of the U.S. Geological Survey.

Water Resources Division Memorandum 95.18, March 14, 1995, Publications—Redelegation of Director’s report approval authority to Regional Hydrologists.

Water Resources Division Memorandum 95.35, May 15, 1995, Programs and Plans—Transmittal of an instrumentation plan for the Water Resources Division and the hydrologic field instrumentation and equipment policy and guidelines.

Water Resources Division Memorandum 97.002, November 15, 1996, Modification to the reports processing system.