SV_Qm Creator v1.3.1
Installation:

The spreadsheet can be downloaded and run anywhere that has access to Excel 2007. No special rights are needed.

Configuration:

Prior to using the spreadsheet, enter the desired email address for the loading process. The SiteVisit loader will send email to this address for every measurement processed.

Also provide a valid Output Path for the files created by SV_Qm Creator. 

[image: image1.png]A B c D 3 E [ H ! L

SITE VISIT Qm CREATOR s e | e
'COMPLETE"
Z}O\UR‘D@‘EQS = BROWSE RETLRR LINES ONLY

Gage Ht Control Condition

"\vxu w‘\. N





Entering Measurements:

For each row in the spreadsheet, enter in the known measurement information. As each row is started, the far right column of the row will display an “incomplete” tag.

[image: image2.png]YOURID@usgs gov

3 E [ H !

SITE VISIT @m CREATOR w10

=)

[3

CLEAR ALL
FORM DATA

L M
CLEAR

'COMPLETE

LINES ONLY

N o

CREATE SITE
VISIT FILES

Control Condition

[Water Temp () Entry Status

b
P





Once all of the required fields (shown with a dark orange heading) have been filled out correctly, the measurement will be marked “complete.”

[image: image3.png]) sv_qm_Crestorsm
A 5 c o e e s W \ | . M N o

2 SITE VISIT Qm CREATOR w0 e | cear P —
"COMPLETE"

; ;‘:UR‘D@‘HJS gov. 'FORM DATA L ONLY VISIT FILES

,

o e AR _conrrconnon e





Additional optional fields are available and can be filled out as needed/desired.

Beginning with version 1.3, a check of the area, velocity, and discharge is automatically made and will change the Entry Status to a Warning message if the discharge is not within 3% of the area times the velocity.

[image: image4.png]&) 1
A 1 c [ 3 £ s H ! ) K L m N ) +
SITE VISIT @m CREATOR w1z CLEARALL 'c:l::::'re' CREATE SITE 3
YOUR ID@usgs.gov
= FORMDATA | | \\oc onLy VISIT FILES P4
Control Condition_|Water Temp (°C)|_Air Temp (°C) | Entry Status.





The “Qm rated” “Disch Method” and “Control Conditions” fields are populated from pick lists within the spreadsheet.

[image: image5.png]SITE VISIT @m CREATOR w10

CLEAR ALL

FORM DATA

Width

Area

Velocity

BROWSE
‘Gage Ht | Discharge | am Rated|| Disch Method

CLEAR
'COMPLETE

LINES ONLY

clotrol Condition

12500 ascum [~

QADCP
FLM

QuoLm
WEIR

PUP S





Beginning with V1.3.1, the “Date” field no longer requires a delimiter. In fact a delimiter will not be accepted. The format is simply YYYYMMDD.
Similarly, the optional “Time” field (new in V1.3.1) uses the format HHMM without a delimiter.

Beginning with version 1.3, the collecting agency can be changed for all measurements on the sheet to facilitate entering data from cooperating agencies.

[image: image6.png]) SV_Qm_Crestor 1 3aism

A 5 c o E 3 6 Lomod
SITE VISIT Qm CREATOR v13 CLEAR
Your euspsgor [coongm] vece | f&ﬁ‘:‘nﬁ#h couLETE

B LINES ONLY
Control Condition





Loading Measurements:

Once all measurements are loaded, click on the “Create SiteVisit Files” button in the upper right hand corner. Individual site visit HydroML files for all “complete” measurements will be created in the directory provided in the “Output Path.”

These files must be moved to the SiteVisit loader input directory for processing, or loaded through the SiteVisit GUI using the “import” option.
Incomplete measurements are ignored.

If any measurements with a warning status exist the user will be reminded of that fact in a pop-up message and asked whether or not output files should be created for those with warnings.
[image: image7.png]WARNING STATUS FOUN

15V has an Entry Status of ‘WARNING'!

Would you like to continue to process this SV as well?

Yes No Cancel





Clearing the Sheet:

The “Clear ‘Complete’ Lines Only” button can be used to remove only the complete measurements after creating HydroML files. To remove all the rows of the sheet use the “Clear All Form Data” button. In both cases the user is prompted prior to completing the action.

